|  |  |
| --- | --- |
| **REQUEST FOR QUOTATION (RFQ)** | Supplier’s Stamp/Signature: |
| Closing Date | : **09 MAY 2024** |
| Email Submission | : **box9@belts.com.bn** |
| BELTS Ref | : **BELTS/HCCS /RFQ/2024/030** |
| Date of Submission | : Click here to enter text. |
| Supplier/Quote Ref | : Click here to enter text. |

|  |  |
| --- | --- |
| Company Name | **Click here to enter text.** |
| Address | **Click here to enter text.** |
| Phone | Office: **Click here to enter text.** Mobile: **Click here to enter text.** |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **No.** | **Item Description** | **Delivery Period** | **Qty/UoM** | **Unit Price** | **Total Price** |
| 1 | **Scope of Work:**To inspect and service the fire extinguishers at BELTS premises.**Location:****BELTS HQ** Level 5 & 6, Setia Kenangan Office Block Setia Kenangan Complex, Kg Kiulap. | **1-3 WORKING DAYS UPON PURCHASE ORDER (PO) ISSUANCE.** |  **6 UN** | **Click here to enter text.** | **Click here to enter text.** |
| 2 | **Location:****BELTS Engineering** Lot 11 & 12, Spg 557, Tapak Perindustrian Kg Salar, Jalan Muara. | **43 UN** | **Click here to enter text.** | **Click here to enter text.** |
| 3 | **Location:****BELTS Training Simulation Centre (TSC)**Penanjong Garrison, Tutong | **22 UN** | **Click here to enter text.** | **Click here to enter text.** |
| 4 | **Location:****BELTS Explosive Handling & Storage (EHS)**Penanjong Garrison, Tutong | **2 UN** | **Click here to enter text.** | **Click here to enter text.** |
| 5 | **Location:****BELTS Naval Training Centre (NTC)**Pusat Latihan Tentera Laut, Pengakalan Tentera Laut Di Raja BruneiTanjung Pelumpong Muara | **3 UN** | **Click here to enter text.** | **Click here to enter text.** |
| 6 | **Location:****BELTS Paintball Arena Jerudong (PAJ)**Spg 265, 265-33 Jerudong Sports Complex Ministry of Culture, Youth and Sports, Jalan Jerudong. | **2 UN** | **Click here to enter text.** | **Click here to enter text.** |
| 7 | **Location:****BELTS State Medical Store/Medical Supply Chain (SMS/MSC)**Spg 433, Rimba Highway Kg. Madaras.**Fire Extinguisher quantity and details:*** 14 units – 4.0kgs ABC Powder.
* 14 units – 2.0kgs CO2 type.
* 3 units – 1.0kg ABC Powder.
 | **31 UN** | **Click here to enter text.** | **Click here to enter text.** |
|  | **Note:** 1. Kindly refer to attached **Annex 01** for further details for reference.
2. For site visit purpose to email directly to admincorp@belts.com.bn
 |

|  |  |  |
| --- | --- | --- |
| **MANDATORY**Suppliers are to provide with the Packaging Dimension,Measurement & Weight - in Standard measurement in Meter, Feet,Inches, Cm, Mm, Kg, GM | **TOTAL PRICE** | **Click here to enter text.** |
| Freight Term (EXW,CIF,ETC) | **Click here to enter text.** |
| Freight Charges (IF APPLICABLE) | **Click here to enter text.** |
| Any other charges please state | **Click here to enter text.** |
| **GRAND TOTAL** | **Click here to enter text.** |

|  |  |
| --- | --- |
| Currency Code : | **BND** |
|  Price Validity(Minimum 9 Months) : | **Click here to enter text.** |
| Payment Terms : | **30 DAYS CREDIT** |
| Warranty : | **Click here to enter text.** |
| Mode of Delivery : | **Click here to enter text.** |
| Delivery Period : | **Click here to enter text.** |
| Country of Manufactured : | **Click here to enter text.** |
| Remarks: | **Click here to enter text.** |

**Annex 01**

1. **Location of Fire Extinguishers at HQ**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **AREA (5th FLOOR)** | **TYPES** | **WEIGHT/LITRE** | **EXPIRY DATE** | **QTY** |
| WALKWAY | ABC POWDER | 4.5KG | MAY-23 | 1 |
| INSIDE OFFICE | ABC POWDER | 4.5KG | MAY-23 | 1 |
| INSIDE OFFICE | WATER | 9L | MAY-23 | 1 |
| INSIDE OFFICE | CARBON DIOXIDE | 2.3KG | MAY-23 | 1 |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **AREA (6th FLOOR)** | **TYPES** | **WEIGHT/LITRE** | **EXPIRY DATE** | **QTY** |
| INSIDE OFFICE | CARBON DIOXIDE | 2.0KG | MAY-23 | 1 |
| WALKWAY | WATER | 9L | MAY-23 | 1 |

1. **Location of Fire Extinguishers at ES, Kg Salar**

|  |  |  |  |
| --- | --- | --- | --- |
| **AREA (Ground Floor)** | **TYPES** | **WEIGHT/LITRE** | **QTY** |
| EMC Office | ABC POWDER | 9KG | 1 |
| CARBON DIOXIDE | 2KG | 1 |
|  Pantry | ABC POWDER | 9KG | 1 |
| CARBON DIOXIDE | 2KG | 1 |
|  Overhaul Room | ABC POWDER | 9KG | 1 |
| Logistic Office (Spare Store) | ABC POWDER | 4.5KG | 1 |
| CARBON DIOXIDE | 4.5KG | 1 |
| Logistic Office (Logistic Store) | ABC POWDER | 9KG | 1 |
| CARBON DIOXIDE | 2KG | 1 |
| Workshop (Walkway) | ABC POWDER | 9KG | 3 |
| ABC POWDER | 50KG | 1 |
| CARBON DIOXIDE | 2KG | 3 |
| POL Store | ABC POWDER | 4.5KG | 1 |
| CARBON DIOXIDE | 4.5KG | 1 |
| Guard House | ABC POWDER | 4.5KG | 1 |

|  |  |  |  |
| --- | --- | --- | --- |
| **AREA**  | **TYPES** | **WEIGHT/LITRE** | **QTY** |
| **(1st Floor)** |
| Hallway | ABC POWDER | 9KG | 1 |
| CARBON DIOXIDE | 2KG | 1 |
| Network Room | ABC POWDER | 9KG | 1 |
| CARBON DIOXIDE | 2KG | 1 |
| Staff Office | ABC POWDER | 9KG | 1 |
| CARBON DIOXIDE | 2KG | 1 |

|  |  |  |  |
| --- | --- | --- | --- |
| **AREA**  | **TYPES** | **WEIGHT/LITRE** | **QTY** |
| Workshop (Walkway) @ Spare | ABC POWDER | 4.5KG | 3 |
| CARBON DIOXIDE | 4.5KG | 5 |
| Workshop (Repair craft Area) | ABC POWDER | 6KG | 2 |
| WATER TYPE | 9L | 2 |
| Generator Set | ABC POWDER | 4.5KG | 1 |
| CARBON DIOXIDE | 4.5KG | 1 |
| FM Building (Next Building) – Outside Office | ABC POWDER | 4.5KG | 1 |
| CARBON DIOXIDE | 4.5KG | 1 |
| FM Building (Next Building) – Inside Office | ABC POWDER | 4.5KG | 1 |
| CARBON DIOXIDE | 4.5KG | 1 |

1. **Location of Fire Extinguishers at TSC, Kg Penanjong**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **AREA (Ground Floor)** | **TYPES** | **WEIGHT/LITRE** | **EXPIRY DATE** | **QTY** |
| Pantry VVIP Exterior | DRY POWDER | 4KG | MAY-23 | 2 |
| Zone B | DRY POWDER | 4KG | MAY-23 | 2 |
| BRIEFING HALL | CARBON DIOXIDE | 2KG | MAY-23 | 1 |
| MORTAR | CARBON DIOXIDE | 2KG | MAY-23 | 1 |
| GENERATOR ROOM | CARBON DIOXIDE | 2KG | MAY-23 | 1 |
| M&E ROOM | CARBON DIOXIDE | 2KG | MAY-23 | 1 |
| ARMOURY | CARBON DIOXIDE | 2KG | MAY-23 | 1 |
| SERVER | CARBON DIOXIDE | 2KG | MAY-23 | 1 |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **AREA (1st Floor)** | **TYPES** | **WEIGHT/LITRE** | **EXPIRY DATE** | **QTY** |
| Executive 2 Hallway | DRY POWDER | 4KG | MAY-23 | 2 |
| RIGHT CORRIDOR | DRY POWDER | 4KG | MAY-23 | 2 |
| LEFT CORRIDOR | DRY POWDER | 4KG | MAY-23 | 2 |
| TSC MANAGEMENT ROOM | CARBON DIOXIDE | 2KG | MAY-23 | 1 |
| EXEC 1 OFFICE | CARBON DIOXIDE | 2KG | MAY-23 | 1 |
| EXEC 2 OFFICE | CARBON DIOXIDE | 2KG | MAY-23 | 1 |
| SATS 1 | CARBON DIOXIDE | 2KG | MAY-23 | 1 |
| SATS 2 | CARBON DIOXIDE | 2KG | MAY-23 | 1 |
| TSC EXEC LOUNGE | CARBON DIOXIDE | 2KG | MAY-23 | 1 |

1. **Location of Fire Extinguishers at EH&S, Kg Penanjong**

|  |  |  |  |
| --- | --- | --- | --- |
| **AREA** | **TYPES** | **WEIGHT/LITRE** | **QTY** |
| ESH NO.1 & ESH NO.2, AMMUNITION SUB DEPOT | ABC POWDER | 2KG | 2 |

1. **Location of Fire Extinguishers at NTC, Muara Camp**

|  |  |  |  |
| --- | --- | --- | --- |
| **AREA** | **TYPES** | **WEIGHT/LITRE** | **QTY** |
| NTC OFFICE | CARBON DIOXIDE | 2KG | 1 |
| LMS SERVER | CARBON DIOXIDE | 2KG | 1 |
| LMS CLASSROOM | CARBON DIOXIDE | 2KG | 1 |

1. **Location of Fire Extinguishers at PAJ, Kg Jerudong**

|  |  |  |  |
| --- | --- | --- | --- |
| **AREA** | **TYPES** | **WEIGHT/LITRE** | **QTY** |
| LOBBY, STRONG ROOM | ABC POWDER | 4KG | 2 |

1. **Location of Fire Extinguishers at MSC, Madaras**

|  |  |  |  |
| --- | --- | --- | --- |
| **AREA (BASEMENT)** | **TYPES** | **WEIGHT/LITRE** | **QTY** |
| GENERATOR ROOM | DRY POWDER |  | 1 |
| CARBON DIOXIDE |  | 1 |
| MAIN SWITCH BOARD ROOM | DRY POWDER |  | 1 |
| CARBON DIOXIDE |  | 1 |
| PUMP ROOM | DRY POWDER |  | 1 |
| CARBON DIOXIDE |  | 1 |

|  |  |  |  |
| --- | --- | --- | --- |
| **AREA (GROUND FLOOR)** | **TYPES** | **WEIGHT/LITRE** | **QTY** |
| OUTSIDE UNLOADING AREA | DRY POWDER |  | 1 |
| CARBON DIOXIDE |  | 1 |
| NEXT TO TEL & COM ROOM | DRY POWDER |  | 1 |
| CARBON DIOXIDE |  | 1 |
| NEXT TO ZONE C EMERGENCY DOOR | DRY POWDER |  | 1 |
| CARBON DIOXIDE |  | 1 |
| NEXT TO ZONE B EMERGENCY DOOR | DRY POWDER |  | 1 |
| CARBON DIOXIDE |  | 1 |
| NEXT TO ZONE A EMERGENCY DOOR | DRY POWDER |  | 1 |
| CARBON DIOXIDE |  | 1 |
| NEXT TO ZONE A DB ROOM | DRY POWDER |  | 1 |
| CARBON DIOXIDE |  | 1 |
| OUTSIDE LOADING AREA | DRY POWDER |  | 1 |
| CARBON DIOXIDE |  | 1 |
| INSIDE PIV STORE (Next to shutter door) | DRY POWDER |  | 1 |
| CARBON DIOXIDE |  | 1 |
| WAREHOUSE, INSIDE | DRY POWDER | 1KG | 2 |
| PIV STOREROOM | CARBON DIOXIDE | 1KG | 1 |

|  |  |  |  |
| --- | --- | --- | --- |
| **AREA (1ST FLOOR)** | **TYPES** | **WEIGHT/LITRE** | **QTY** |
| WALKWAY (Next to server room) | DRY POWDER |  | 1 |
| CARBON DIOXIDE |  | 1 |
| MAIN OFFICE | DRY POWDER |  | 1 |
| CARBON DIOXIDE |  | 1 |

|  |  |  |  |
| --- | --- | --- | --- |
| **AREA (ROFTOP)** | **TYPES** | **WEIGHT/LITRE** | **QTY** |
| AHU ROOM | DRY POWDER |  | 1 |
| CARBON DIOXIDE |  | 1 |