| REQUEST FOR QUOTATION (RFQ) |  | Supplier’s Stamp/Signature: |
| --- | --- | --- |
| Closing Date | : 19 JULY 2024 |  |
| Email Submission | : box10@belts.com.bn |  |
| BELTS Ref | : BELTS/HCCS/RFQ/2024/044 |  |
| Date of Submission | : Click here to enter text. |  |
| Supplier/Quote Ref | : Click here to enter text. |  |

| Company Name | Click here to enter text. |
| --- | --- |
| Address | Click here to enter text. |
| Phone | Office: Click here to enter text. Mobile: Click here to enter text. |

| No. | Item Description | Delivery Period | Qty/UoM | Unit Price | Total Price |
| --- | --- | --- | --- | --- | --- |
| 1 | To supply labour, equipment and materials to construct two speed humps on the following locations situated in the BELTS MSC building area: - On top of the existing zebra crossing line, in front of the security guard post. Refer to Attachment 1 for the exact location. - On top of the existing zebra crossing line on the external road, just pass the security guard post. Refer to Attachment 2 for the exact location. Specifications of the hump: - Material: Asphaltic concrete. - Markings: Zebra crossing white stripe pattern using road paint. - Dimensions for speed hump A: 7300mm length x 2500mm width x 30-35mm height. - Dimensions for speed hump B: 9600mm length x 2500mm width x 30-35mm height. - Shape: Trapezoidal for ease of walking for the pedestrian. Note: Kindly provide us with 2 quotation options of the ramps to be made from asphaltic concrete or pre-made ones. | 2-3 WORKING DAYS UPON PURCHASE ORDER (PO) ISSUANCE | 1 LOT | Click here to enter text. | Click here to enter text. |
| 2 | To supply and install - New door handle of the magnetic entrance door, entrance gate near to Security guard post. - The door handle must fit into the dimension of 9” length x 2” width. - Refer to Attachment 3 for more details. |  | 1 LOT | Click here to enter text. | Click here to enter text. |
| 3 | To repair the entrance roller gate at BELTS MSC building Repair must include the following: - Replacement of the 2 damaged roller gate motors with new motor, preferably using the FAAC brand model 740. Any replacement of the motors must be compatible with existing control panels. Refer to Attachment 4 for more details. - Replacement of the damaged rollers and lubricate all moving pats to ensure smooth operation. Refer to Attachment 5 for more details. - To re-paint the entire roller gate to prevent further rusting using anti-corrosive undercoat and finish with metal paint. |  | 1 LOT | Click here to enter text. | Click here to enter text. |
| 4 | To supply and install new assembly signage at the centre of the car park located outside BELTS MSC building Refer to Attachment 6 for the exact location point. Requirements - Design and dimension: Must follow the same design and dimensions as the existing assembly signage located inside the BELTS MSC building. Refer to Attachment 7 for more details. - Mounting and support: Signage must be installed securely on a reinforcement concrete flooring with the dimension of 300mm length x 300mm width x600mm depth. |  | 1 LOT | Click here to enter text. | Click here to enter text. |
|  | Note: - The location is at BELTS Medical Supply Chain (MSC), Spg 433, Rimba Highway, Kg. Madaras. - For any site visit purposes kindly e-Mail your date & time schedule to admincorp@belts.com.bn - For any questions or enquiries kindly e-Mail directly to rfq_enquiry@belts.com.bn - Contractor must conduct a site survey to determine scope of work and installation for item description number 1 – 4. - Contractor must properly dispose of all waste materials on site. - Contractor must implement safety measures to protect workers and the public during installation work. |  |  |  |  |

| MANDATORY Suppliers are to provide with the Packaging Dimension, Measurement & Weight - in Standard measurement in Meter, Feet, Inches, Cm, Mm, Kg, GM | TOTAL PRICE | Click here to enter text. |
| --- | --- | --- |
| Freight Term (EXW,CIF,ETC) |  | Click here to enter text. |
| Freight Charges (IF APPLICABLE) |  | Click here to enter text. |
| Any other charges please state |  | Click here to enter text. |
| GRAND TOTAL |  | Click here to enter text. |

| Currency Code : | BND |
| --- | --- |
| Price Validity (Minimum 9 Months) : | Click here to enter text. |
| Payment Terms : | 30 DAYS CREDIT |
| Warranty : | Click here to enter text. |
| Mode of Delivery : | Click here to enter text. |
| Delivery Period : | Click here to enter text. |
| Country of Manufactured : | Click here to enter text. |
| Remarks: | Click here to enter text. |

ATTACHMENT 1

ATTACHMENT 2

ATTACHMENT 3

ATTACHMENT 4

ATTACHMENT 5

ATTACHMENT 6

ATTACHMENT 7