## Specification
SCHEDULE 3 TECHNICAL PROPOSAL - DETAILS OF PRODUCTS OFFERED THE SUPPLY AND DELIVERY OF MEDICAL CONSUMABLES FOR BRUNEI ENGINEERING, LOGISTICS AND TRAINING SOLUTIONS SDN BHD FOR ONE PLUS ONE (1+1) YEARS TENDER BATCH: BELTS/MSC/PROC/MC/2024/2
NO. | ITEM DESCRIPTION | SPECIFICATION | UOM | ESTIMATED ANNUAL USAGE | BUFFER STOCK REQUIRED | SHELF LIFE | DELIVERY PERIOD
1 | 3M™ Aura™ Health Care Particulare Respirator and Surgical Mask 1870+ | -FDA cleared for use as a surgical mask - Fluid Resistant 160 mmHg - Flammability Rating Class I - Adjustable nose clip - 3-Panel, flat-fold style - Stapled headbands - Individually packed | PIECE | 26000 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
2 | Disinfectant Wipes | - dermatologically tested; - highly efficacious, - broad spectrum, - alcohol free disinfectant | PACK | 10000 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
3 | Sharps Disposable Containers (Puncture and Leak Proof Containers) Size: 8 Litres | - sharps disposable containers - puncture and leak proof containers - colour: yellow - size: 8 litres Safety requirement - container lid cannot be reopened after being closed | PIECE | 5500 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
4 | Sharps Disposable Containers (Puncture and Leak Proof Containers) Size: 26 Litres | - sharps disposable containers - puncture and leak proof containers - colour: yellow - size: 26 litres Safety requirement - container lid cannot be reopened after being closed | PIECE | 6500 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
5 | Plastic Urinal Bottle For Male | - plastic urinal bottle for male | UNIT | 300 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
6 | Plastic Bedpan | Manufactured from polypropylene - Autoclavable - 2500ml capacity - 370mm x 310mm x 90mm | PIECE | 100 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
7 | Airways Disposable Color Coded No. 1 White 70mm | - airways disposable colour coded no. 1 - white - size: 70mm | PIECE | 750 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
8 | AIrways Disposable Color Coded No. 2 Green 80mm | - airways disposable colour coded no. 2 - green - size: 80mm | PIECE | 1210 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
9 | Airways Disposable Color Coded No. 3 Orange 90mm | - airways disposable colour coded no. 3 - orange - size: 90mm | PIECE | 800 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
10 | Airways Disposable Color Coded No. 4 Red 100mm | - airways disposable colour coded no. 4 - red - size: 100mm | PIECE | 900 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
11 | Incontinence Male Sheath Size: Small | - size: small - self-adhesive sheath - clear silicone - to allow visual inspection of the skin underneath - latex free - convenient and non-invasive way | PIECE | 2000 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
12 | Incontinence Male Sheath Size: Medium | - size: medium - self-adhesive sheath - clear silicone - to allow visual inspection of the skin underneath - latex free - convenient and non-invasive way | PIECE | 2100 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
13 | Incontinence Male Sheath Size: Large | - size: large - self-adhesive sheath - clear silicone - to allow visual inspection of the skin underneath - latex free - convenient and non-invasive way | PIECE | 2000 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
14 | Incontinence Male Sheath Size: Extra Large | - size: extra large - self-adhesive sheath - clear silicone - to allow visual inspection of the skin underneath - latex free - convenient and non-invasive way | PIECE | 1100 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
15 | Bandages Tubinette Size: 01 | - tubinette is used to hold dressings in place and to protect clothing from ointments and creams - made from 100% viscose/rayon/cotton and is intended for use where dressings have to be changed frequently - quick and easy to apply, with or without applicator - act as a skin shield by protecting skin beneath plaster casts or plaster of paris bandages - makes it easy to retain dressings anywhere on the body - size: 01 | ROLL | 50 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
16 | Bandages Tubinette Size: 12 | - tubinette is used to hold dressings in place and to protect clothing from ointments and creams - made from 100% viscose/rayon/cotton and is intended for use where dressings have to be changed frequently - quick and easy to apply, with or without applicator - act as a skin shield by protecting skin beneath plaster casts or plaster of paris bandages - makes it easy to retain dressings anywhere on the body - size: 12 | ROLL | 50 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
17 | Bandages Tubinette Size: 34 | - tubinette is used to hold dressings in place and to protect clothing from ointments and creams - made from 100% viscose/rayon/cotton and is intended for use where dressings have to be changed frequently - quick and easy to apply, with or without applicator - act as a skin shield by protecting skin beneath plaster casts or plaster of paris bandages - makes it easy to retain dressings anywhere on the body - size: 34 | ROLL | 50 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
18 | Bandages Tubinette Size: 56 | - tubinette is used to hold dressings in place and to protect clothing from ointments and creams - made from 100% viscose/rayon/cotton and is intended for use where dressings have to be changed frequently - quick and easy to apply, with or without applicator - act as a skin shield by protecting skin beneath plaster casts or plaster of paris bandages - makes it easy to retain dressings anywhere on the body - size: 56 | ROLL | 70 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
19 | Bandages Tubinette Size: 78 | - tubinette is used to hold dressings in place and to protect clothing from ointments and creams - made from 100% viscose/rayon/cotton and is intended for use where dressings have to be changed frequently - quick and easy to apply, with or without applicator - act as a skin shield by protecting skin beneath plaster casts or plaster of paris bandages - makes it easy to retain dressings anywhere on the body - size: 78 | ROLL | 80 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
20 | X-Ray Detectable Ribbon Gauze Size: 1" (Sterile With Ray-Tec Line) | - packing gauze consists of folded, absorbent, 100% cotton in 4 ply conforming to BP standards - the tucked-in folded ends ensure that there are no loose fibres - packing is sterile pre-packs, plain - with x-ray detectable (ray-tec) - length: 1m - size: 1" | PIECE | 2000 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
21 | X-Ray Detectable Ribbon Gauze Size: 2" (Sterile With Ray-Tec Line) | - packing gauze consists of folded, absorbent, 100% cotton in 4 ply conforming to BP standards - the tucked-in folded ends ensure that there are no loose fibres - packing is sterile pre-packs, plain - with x-ray detectable (ray-tec) - length: 1m - size: 1" | Roll | 2000 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
22 | Gauze Swab Plain BPC Size: 3" x 3" x 12ply | - size: 3" x 3" (7.5cm x 7.5cm) x 12 ply - 100% cotton - non-sterile - bleached to a good white - clean and odourless - quick absorbent - certified: CE/FDA/ISO | PACK | 18000 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
23 | Adhesive Plaster Porous Hypoallergenic Size: 3" (Zinc Oxide) | - with polyester / cotton fabric as back liner, as its surface coated with natural rubber and zinc as adhesive - water repellent, porous, permeable to air and moisture - anti-inflammation and anti-allergic - ribbed or flat edges, easy to tear - it is suitable for fixing dressing and light duct at surgery - size: 3" | Roll | 300 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
24 | Thoracic Trocar Cannula Size: 28FR | - Suitable for effective drainage after cardio-thoracic & Thoracic surgery. - Atraumatic & rounded open distal end with smooth eyes. - Proximal end is fitted with pull through tapered tongue. - With radio-opaque line and markings at every 2cm from the last eye. - Lateral eyes to prevent tissue aspiration. - Matching size connetor for easy connection to the drainage system. - Soft, frosted and kink resistant PVC tubing. - Length: 45cm. - Sterile, ready for use. | PIECE | 270 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
25 | Thoracic Trocar Cannula Size: 32FR | - Suitable for effective drainage after cardio-thoracic & Thoracic surgery. - Atraumatic & rounded open distal end with smooth eyes. - Proximal end is fitted with pull through tapered tongue. - With radio-opaque line and markings at every 2cm from the last eye. - Lateral eyes to prevent tissue aspiration. - Matching size connetor for easy connection to the drainage system. - Soft, frosted and kink resistant PVC tubing. - Length: 45cm. - Sterile, ready for use. | PIECE | 240 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
26 | Spinal Needle Size: 18G | - colour coded needle hub - single use - sterilization: ETO - size: 18G - length of needle: 3 1/2" (90mm) - colour code: pink | PIECE | 650 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
27 | Spinal Needle Size: 22G | - colour coded needle hub - single use - sterilization: ETO - size: 20G - length of needle: 3 1/2" (90mm) - colour code: yellow | PIECE | 4000 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
28 | Spinal Needle Size: 20G | - colour coded needle hub - single use - sterilization: ETO - size: 22G - length of needle: 3 1/2" (90mm) - colour code: black | PIECE | 400 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
29 | Endotracheal Tube, Oral/Nasal Ivory 3.0mm Uncuffed | - endotracheal tube - radiopaque line - non-latex - siliconised oral/nasal - uncuffed - paediatric use - size: 3.0mm | PIECE | 120 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
30 | Endotracheal Tube, Oral/Nasal Ivory 3.5mm Uncuffed | - endotracheal tube - radiopaque line - non-latex - siliconised oral/nasal - uncuffed - paediatric use - size: 3.5mm | PIECE | 120 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
31 | Endotracheal Tube, Oral/Nasal Ivory 4.0mm Uncuffed | - endotracheal tube - radiopaque line - non-latex - siliconised oral/nasal - uncuffed - paediatric use - size: 4.0mm | PIECE | 220 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
32 | Endotracheal Tube, Oral/Nasal Ivory 4.5mm Uncuffed | - endotracheal tube - radiopaque line - non-latex - siliconised oral/nasal - uncuffed - paediatric use - size: 4.5mm | PIECE | 200 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
33 | Endotracheal Tube, Oral/Nasal Ivory 5.0mm Uncuffed | - endotracheal tube - radiopaque line - non-latex - siliconised oral/nasal - uncuffed - paediatric use - size: 5.0mm | PIECE | 200 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
34 | North Facing Nasal Soft Endotracheal Tube, Endotracheal Tube Nasal Ivory 6.0mm Cuffed | - North Facing - Soft endotracheal tube - siliconised oral/nasal with l/h pressure profile cuff - non-latex - radiopaque line - murphy eye - size: 6.0mm | PIECE | 300 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
35 | Nylon: 16mm 3/8 Reverse Cutting Needle, Thread Length ≥ 75cm Blue (Size 4/0) | - nylon - 16mm 3/8 reverse cutting needle - thread length ≥ 75cm - thread length colour: blue - size: 4/0 | PIECE | 3600 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
36 | Nylon: 19mm 3/8 Reverse Cutting Needle, Thread Length ≥ 75cm Blue (Size 3/0) | - nylon - 19mm 3/8 reverse cutting needle - thread length ≥ 75cm - thread length colour: blue - size: 3/0 | PIECE | 7200 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
37 | Nylon: 24mm 3/8 Reverse Cutting Needle, Thread Length ≥ 75cm Blue (Size 2/0) | - nylon - 24mm 3/8 reverse cutting needle - thread length ≥ 75cm - thread length colour: blue - size: 2/0 | PIECE | 7200 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
38 | Nylon: 16mm 3/8 Circle Reverse Cutting Needle, Thread Length ≥ 45cm Blue (Size 6/0) | - nylon - 16mm 3/8 reverse cutting needle - thread length ≥ 45cm - thread length colour: blue - size: 6/0 | PIECE | 1200 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
39 | Silk: 26mm 1/2 Circle Round Bodied Needle, Thread Length ≥ 75cm (Size 0) | - silk - 26mm 1/2 circle round bodied needle - thread length ≥ 75cm - size: 0 | PIECE | 1200 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
40 | Silk: 30mm 3/8 Circle Reverse Cutting Needle, Thread Length ≥ 75cm (Size 2/0) | - silk - 30mm 3/8 circle reverse cutting needle - thread length ≥ 75cm - size: 2/0 | PIECE | 6000 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
41 | Silk: 30mm 3/8 Circle Reverse Cutting Needle, Thread Length ≥ 75cm (Size 3/0) | - silk - 30mm 3/8 circle reverse cutting needle - thread length ≥ 75cm - size: 3/0 | PIECE | 1800 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
42 | Remote Injection Catheter, Length 150cm, Sterile, Single Use | - The highly flexible and kink resistant tubing minimises disruption to the flow of fluids. - The rotating hub prevents the tube from coiling up when connecting between a device and the IV access point. - Easy to connect to an infusion set, syringe or three-way stopcock, with a luer lock on one end and a slip tip at the other. - Highly transparent tube - Very flexible - Latex Free | PIECE | 48000 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
43 | Terufusion Solution Administration Set | - the set is maintaining a reliable drip rate over a long period of time - the uniform shape of transparent drip chamber makes drip monitoring convenient - equipped with a constant flow-rate clamp and small bore tube - a 40 micron pore size filter is provided at the rear of the connector for removal or particles - latex free - deliver rate 20 drops per millilitre - spike needle plastic - air vent needle - phlebotomy needle: 21G - with connector | PIECE | 61800 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock

## Sch 3 - Item 1 - Item 5
SCHEDULE 3 TECHNICAL PROPOSAL - DETAILS OF PRODUCTS OFFERED THE SUPPLY AND DELIVERY OF MEDICAL CONSUMABLES FOR BRUNEI ENGINEERING, LOGISTICS AND TRAINING SOLUTIONS SDN BHD FOR ONE PLUS ONE (1+1) YEARS TENDER BATCH: BELTS/MSC/PROC/MC/2024/2
No. | PARTICULARS | SPECIFICATION AND REQUIREMENT | INFORMATION REQUIRED | ITEM 1 | ITEM 2 | ITEM 3 | ITEM 4 | ITEM 5
|  |  |  | 3M™ Aura™ Health Care Particulare Respirator and Surgical Mask 1870+ | Disinfectant Wipes | Sharps Disposable Containers (Puncture and Leak Proof Containers) Size: 8 Litres | Sharps Disposable Containers (Puncture and Leak Proof Containers) Size: 26 Litres | Plastic Urinal Bottle For Male
1 | Product details | Details of Brand | Product / Brand Name including Item Code (if applicable)
|  | Details of Pack Size and Type of Presentation Offered | Pack Size
|  | The name of Manufacturer where product is obtained and its details | Manufacturer information
2 | Product Specifications | Indicate if the product specifications are met, if not please specify accordingly | Please refer to individual item's required specifications | -FDA cleared for use as a surgical mask - Fluid Resistant 160 mmHg - Flammability Rating Class I - Adjustable nose clip - 3-Panel, flat-fold style - Stapled headbands - Individually packed | - dermatologically tested; - highly efficacious, - broad spectrum, - alcohol free disinfectant | - sharps disposable containers - puncture and leak proof containers - colour: yellow - size: 8 litres Safety requirement - container lid cannot be reopened after being closed | - sharps disposable containers - puncture and leak proof containers - colour: yellow - size: 26 litres Safety requirement - container lid cannot be reopened after being closed | - plastic urinal bottle for male
3 | Lead Time | Specify the lead time of new production of Goods inclusive redressing, in Weeks or Months | Lead time for New Production of Item including redressing
4 | Delivery Period | Please indicate the lead-time for delivery period including shipment to Brunei Darussalam. The shortest or specific lead-time will be preferred. Not acceptable if language used to describe lead time as “Not more than 60-90 days upon confirmation, however subject to stocks availability upon receipt of purchase order” would be regarded as unspecified lead time which therefore be considered as the longest lead-time | Lead time for delivery of item to Brunei Darussalam
5 | Ex-Stock Availability | Indicate whether existing stock is available for immediate purchase and the quantity in hand. Availability of ex-stock will be preferred | Ex-Stock of item available with supplier
Quantity available
6 | Sample Submitted | *If the conditions below applies to the items offered, Bidders are REQUIRED to submit sample of products for evaluation: • The Bidder has not supplied the product to BELTS or MOH; or • The Bidder has previously supplied the product to BELTS or MOH, however has exceeded two (2) years from the date of Tender released; or Failure to submit samples will automatically disqualify the Bidder from evaluation in the Tender. Samples are required to be submitted in the following conditions with Annex C Sample Submission Form: • Must be submitted in untampered original pack including its package insert; • The sample should be labelled with tender reference number and listed item no.; • Must be submitted with Submission of Sample Form; and Bidder are reminded to ensure the product sample match with their offer. | Sample Ref. No (MC/2024/01/Sample…)
7 | Other details / documents provided | The followings are required to be submitted: High resolution and legible color photo images of the following: • Photo images of product offered which must include essential details of label on the primary and secondary packaging such as product name / manufacturer details - from all sides/angles of the packaging. (Please attached with the document) • Brochures with Instruction for use/product manuals submitted (Kindly submit official brochures for offerd items) | Product Images and Product Brochures provided
|  | The storage condition of the product should be labelled in accordance with ASEAN Guideline on Stability Study of Drug Product. Specific temperature for storage condition should be indicated. Not acceptable by using these terms such as “ambient conditions”, “room temperature” or “does not require any special storage condition”; unless enclosed with stability study document. | Storage Conditions
|  | Minimum of 24 months on receipt; unless the item’s manufactured shelf life is less than 24 months; short expiry date items agreed to be accepted by BELTS with prior knowledge before delivery and with letter of undertaking provided. Product with longer shelf-life will be given preference. | a. Product shelf-life b. Minimum shelf-life upon receipt
|  | Indicate 'Yes' or 'No' and its reference if the product offered has been supplied to MOH or BELTS | Indicate if previously supplied to MOH or BELTS (RFQ or Tender Reference with month and year)

## Sch 3 - Item 6 - Item 10
SCHEDULE 3 TECHNICAL PROPOSAL - DETAILS OF PRODUCTS OFFERED THE SUPPLY AND DELIVERY OF MEDICAL CONSUMABLES FOR BRUNEI ENGINEERING, LOGISTICS AND TRAINING SOLUTIONS SDN BHD FOR ONE PLUS ONE (1+1) YEARS TENDER BATCH: BELTS/MSC/PROC/MC/2024/2
No. | PARTICULARS | SPECIFICATION AND REQUIREMENT | INFORMATION REQUIRED | ITEM 6 | ITEM 7 | ITEM 8 | ITEM 9 | ITEM 10
|  |  |  | Plastic Bedpan | Airways Disposable Color Coded No. 1 White 70mm | AIrways Disposable Color Coded No. 2 Green 80mm | Airways Disposable Color Coded No. 3 Orange 90mm | Airways Disposable Color Coded No. 4 Red 100mm
1 | Product details | Details of Brand | Product / Brand Name including Item Code (if applicable)
|  | Details of Pack Size and Type of Presentation Offered | Pack Size
|  | The name of Manufacturer where product is obtained and its details | Manufacturer information
2 | Product Specifications | Indicate if the product specifications are met, if not please specify accordingly | Please refer to individual item's required specifications | Manufactured from polypropylene - Autoclavable - 2500ml capacity - 370mm x 310mm x 90mm | - airways disposable colour coded no. 1 - white - size: 70mm | - airways disposable colour coded no. 2 - green - size: 80mm | - airways disposable colour coded no. 3 - orange - size: 90mm | - airways disposable colour coded no. 4 - red - size: 100mm
3 | Lead Time | Specify the lead time of new production of Goods inclusive redressing, in Weeks or Months | Lead time for New Production of Item including redressing
4 | Delivery Period | Please indicate the lead-time for delivery period including shipment to Brunei Darussalam. The shortest or specific lead-time will be preferred. Not acceptable if language used to describe lead time as “Not more than 60-90 days upon confirmation, however subject to stocks availability upon receipt of purchase order” would be regarded as unspecified lead time which therefore be considered as the longest lead-time | Lead time for delivery of item to Brunei Darussalam
5 | Ex-Stock Availability | Indicate whether existing stock is available for immediate purchase and the quantity in hand. Availability of ex-stock will be preferred | Ex-Stock of item available with supplier
Quantity available
6 | Sample Submitted | *If the conditions below applies to the items offered, Bidders are REQUIRED to submit sample of products for evaluation: • The Bidder has not supplied the product to BELTS or MOH; or • The Bidder has previously supplied the product to BELTS or MOH, however has exceeded two (2) years from the date of Tender released; or Failure to submit samples will automatically disqualify the Bidder from evaluation in the Tender. Samples are required to be submitted in the following conditions with Annex C Sample Submission Form: • Must be submitted in untampered original pack including its package insert; • The sample should be labelled with tender reference number and listed item no.; • Must be submitted with Submission of Sample Form; and Bidder are reminded to ensure the product sample match with their offer. | Sample Ref. No (MC/2024/01/Sample…)
7 | Other details / documents provided | The followings are required to be submitted: High resolution and legible color photo images of the following: • Photo images of product offered which must include essential details of label on the primary and secondary packaging such as product name / manufacturer details - from all sides/angles of the packaging. (Please attached with the document) • Brochures with Instruction for use/product manuals submitted (Kindly submit official brochures for offerd items) | Product Images and Product Brochures provided
|  | The storage condition of the product should be labelled in accordance with ASEAN Guideline on Stability Study of Drug Product. Specific temperature for storage condition should be indicated. Not acceptable by using these terms such as “ambient conditions”, “room temperature” or “does not require any special storage condition”; unless enclosed with stability study document. | Storage Conditions
|  | Minimum of 24 months on receipt; unless the item’s manufactured shelf life is less than 24 months; short expiry date items agreed to be accepted by BELTS with prior knowledge before delivery and with letter of undertaking provided. Product with longer shelf-life will be given preference. | a. Product shelf-life b. Minimum shelf-life upon receipt
|  | Indicate 'Yes' or 'No' and its reference if the product offered has been supplied to MOH or BELTS | Indicate if previously supplied to MOH or BELTS (RFQ or Tender Reference with month and year)

## Sch 3 - Item 11 - Item 15
SCHEDULE 3 TECHNICAL PROPOSAL - DETAILS OF PRODUCTS OFFERED THE SUPPLY AND DELIVERY OF MEDICAL CONSUMABLES FOR BRUNEI ENGINEERING, LOGISTICS AND TRAINING SOLUTIONS SDN BHD FOR ONE PLUS ONE (1+1) YEARS TENDER BATCH: BELTS/MSC/PROC/MC/2024/2
No. | PARTICULARS | SPECIFICATION AND REQUIREMENT | INFORMATION REQUIRED | ITEM 11 | ITEM 12 | ITEM 13 | ITEM 14 | ITEM 15
|  |  |  | Incontinence Male Sheath Size: Small | Incontinence Male Sheath Size: Medium | Incontinence Male Sheath Size: Large | Incontinence Male Sheath Size: Extra Large | Bandages Tubinette Size: 01
1 | Product details | Details of Brand | Product / Brand Name including Item Code (if applicable)
|  | Details of Pack Size and Type of Presentation Offered | Pack Size
|  | The name of Manufacturer where product is obtained and its details | Manufacturer information
2 | Product Specifications | Indicate if the product specifications are met, if not please specify accordingly | Please refer to individual item's required specifications | - size: small - self-adhesive sheath - clear silicone - to allow visual inspection of the skin underneath - latex free - convenient and non-invasive way | - size: medium - self-adhesive sheath - clear silicone - to allow visual inspection of the skin underneath - latex free - convenient and non-invasive way | - size: large - self-adhesive sheath - clear silicone - to allow visual inspection of the skin underneath - latex free - convenient and non-invasive way | - size: extra large - self-adhesive sheath - clear silicone - to allow visual inspection of the skin underneath - latex free - convenient and non-invasive way | - tubinette is used to hold dressings in place and to protect clothing from ointments and creams - made from 100% viscose/rayon/cotton and is intended for use where dressings have to be changed frequently - quick and easy to apply, with or without applicator - act as a skin shield by protecting skin beneath plaster casts or plaster of paris bandages - makes it easy to retain dressings anywhere on the body - size: 01
3 | Lead Time | Specify the lead time of new production of Goods inclusive redressing, in Weeks or Months | Lead time for New Production of Item including redressing
4 | Delivery Period | Please indicate the lead-time for delivery period including shipment to Brunei Darussalam. The shortest or specific lead-time will be preferred. Not acceptable if language used to describe lead time as “Not more than 60-90 days upon confirmation, however subject to stocks availability upon receipt of purchase order” would be regarded as unspecified lead time which therefore be considered as the longest lead-time | Lead time for delivery of item to Brunei Darussalam
5 | Ex-Stock Availability | Indicate whether existing stock is available for immediate purchase and the quantity in hand. Availability of ex-stock will be preferred | Ex-Stock of item available with supplier
Quantity available
6 | Sample Submitted | *If the conditions below applies to the items offered, Bidders are REQUIRED to submit sample of products for evaluation: • The Bidder has not supplied the product to BELTS or MOH; or • The Bidder has previously supplied the product to BELTS or MOH, however has exceeded two (2) years from the date of Tender released; or Failure to submit samples will automatically disqualify the Bidder from evaluation in the Tender. Samples are required to be submitted in the following conditions with Annex C Sample Submission Form: • Must be submitted in untampered original pack including its package insert; • The sample should be labelled with tender reference number and listed item no.; • Must be submitted with Submission of Sample Form; and Bidder are reminded to ensure the product sample match with their offer. | Sample Ref. No (MC/2024/01/Sample…)
7 | Other details / documents provided | The followings are required to be submitted: High resolution and legible color photo images of the following: • Photo images of product offered which must include essential details of label on the primary and secondary packaging such as product name / manufacturer details - from all sides/angles of the packaging. (Please attached with the document) • Brochures with Instruction for use/product manuals submitted (Kindly submit official brochures for offerd items) | Product Images and Product Brochures provided
|  | The storage condition of the product should be labelled in accordance with ASEAN Guideline on Stability Study of Drug Product. Specific temperature for storage condition should be indicated. Not acceptable by using these terms such as “ambient conditions”, “room temperature” or “does not require any special storage condition”; unless enclosed with stability study document. | Storage Conditions
|  | Minimum of 24 months on receipt; unless the item’s manufactured shelf life is less than 24 months; short expiry date items agreed to be accepted by BELTS with prior knowledge before delivery and with letter of undertaking provided. Product with longer shelf-life will be given preference. | a. Product shelf-life b. Minimum shelf-life upon receipt
|  | Indicate 'Yes' or 'No' and its reference if the product offered has been supplied to MOH or BELTS | Indicate if previously supplied to MOH or BELTS (RFQ or Tender Reference with month and year)

## Sch 3 - Item 16 - Item 20
SCHEDULE 3 TECHNICAL PROPOSAL - DETAILS OF PRODUCTS OFFERED THE SUPPLY AND DELIVERY OF MEDICAL CONSUMABLES FOR BRUNEI ENGINEERING, LOGISTICS AND TRAINING SOLUTIONS SDN BHD FOR ONE PLUS ONE (1+1) YEARS TENDER BATCH: BELTS/MSC/PROC/MC/2024/2
No. | PARTICULARS | SPECIFICATION AND REQUIREMENT | INFORMATION REQUIRED | ITEM 16 | ITEM 17 | ITEM 18 | ITEM 19 | ITEM 20
|  |  |  | Bandages Tubinette Size: 12 | Bandages Tubinette Size: 34 | Bandages Tubinette Size: 56 | Bandages Tubinette Size: 78 | X-Ray Detectable Ribbon Gauze Size: 1" (Sterile With Ray-Tec Line)
1 | Product details | Details of Brand | Product / Brand Name including Item Code (if applicable) | - tubinette is used to hold dressings in place and to protect clothing from ointments and creams - made from 100% viscose/rayon/cotton and is intended for use where dressings have to be changed frequently - quick and easy to apply, with or without applicator - act as a skin shield by protecting skin beneath plaster casts or plaster of paris bandages - makes it easy to retain dressings anywhere on the body - size: 12 | - tubinette is used to hold dressings in place and to protect clothing from ointments and creams - made from 100% viscose/rayon/cotton and is intended for use where dressings have to be changed frequently - quick and easy to apply, with or without applicator - act as a skin shield by protecting skin beneath plaster casts or plaster of paris bandages - makes it easy to retain dressings anywhere on the body - size: 34 | - tubinette is used to hold dressings in place and to protect clothing from ointments and creams - made from 100% viscose/rayon/cotton and is intended for use where dressings have to be changed frequently - quick and easy to apply, with or without applicator - act as a skin shield by protecting skin beneath plaster casts or plaster of paris bandages - makes it easy to retain dressings anywhere on the body - size: 56 | - tubinette is used to hold dressings in place and to protect clothing from ointments and creams - made from 100% viscose/rayon/cotton and is intended for use where dressings have to be changed frequently - quick and easy to apply, with or without applicator - act as a skin shield by protecting skin beneath plaster casts or plaster of paris bandages - makes it easy to retain dressings anywhere on the body - size: 78 | - packing gauze consists of folded, absorbent, 100% cotton in 4 ply conforming to BP standards - the tucked-in folded ends ensure that there are no loose fibres - packing is sterile pre-packs, plain - with x-ray detectable (ray-tec) - length: 1m - size: 1"
|  | Details of Pack Size and Type of Presentation Offered | Pack Size
|  | The name of Manufacturer where product is obtained and its details | Manufacturer information
2 | Product Specifications | Indicate if the product specifications are met, if not please specify accordingly | Please refer to individual item's required specifications
3 | Lead Time | Specify the lead time of new production of Goods inclusive redressing, in Weeks or Months | Lead time for New Production of Item including redressing
4 | Delivery Period | Please indicate the lead-time for delivery period including shipment to Brunei Darussalam. The shortest or specific lead-time will be preferred. Not acceptable if language used to describe lead time as “Not more than 60-90 days upon confirmation, however subject to stocks availability upon receipt of purchase order” would be regarded as unspecified lead time which therefore be considered as the longest lead-time | Lead time for delivery of item to Brunei Darussalam
5 | Ex-Stock Availability | Indicate whether existing stock is available for immediate purchase and the quantity in hand. Availability of ex-stock will be preferred | Ex-Stock of item available with supplier
Quantity available
6 | Sample Submitted | *If the conditions below applies to the items offered, Bidders are REQUIRED to submit sample of products for evaluation: • The Bidder has not supplied the product to BELTS or MOH; or • The Bidder has previously supplied the product to BELTS or MOH, however has exceeded two (2) years from the date of Tender released; or Failure to submit samples will automatically disqualify the Bidder from evaluation in the Tender. Samples are required to be submitted in the following conditions with Annex C Sample Submission Form: • Must be submitted in untampered original pack including its package insert; • The sample should be labelled with tender reference number and listed item no.; • Must be submitted with Submission of Sample Form; and Bidder are reminded to ensure the product sample match with their offer. | Sample Ref. No (MC/2024/01/Sample…)
7 | Other details / documents provided | The followings are required to be submitted: High resolution and legible color photo images of the following: • Photo images of product offered which must include essential details of label on the primary and secondary packaging such as product name / manufacturer details - from all sides/angles of the packaging. (Please attached with the document) • Brochures with Instruction for use/product manuals submitted (Kindly submit official brochures for offerd items) | Product Images and Product Brochures provided
|  | The storage condition of the product should be labelled in accordance with ASEAN Guideline on Stability Study of Drug Product. Specific temperature for storage condition should be indicated. Not acceptable by using these terms such as “ambient conditions”, “room temperature” or “does not require any special storage condition”; unless enclosed with stability study document. | Storage Conditions
|  | Minimum of 24 months on receipt; unless the item’s manufactured shelf life is less than 24 months; short expiry date items agreed to be accepted by BELTS with prior knowledge before delivery and with letter of undertaking provided. Product with longer shelf-life will be given preference. | a. Product shelf-life b. Minimum shelf-life upon receipt
|  | Indicate 'Yes' or 'No' and its reference if the product offered has been supplied to MOH or BELTS | Indicate if previously supplied to MOH or BELTS (RFQ or Tender Reference with month and year)

## Sch 3 - Item 21 - Item 25
SCHEDULE 3 TECHNICAL PROPOSAL - DETAILS OF PRODUCTS OFFERED THE SUPPLY AND DELIVERY OF MEDICAL CONSUMABLES FOR BRUNEI ENGINEERING, LOGISTICS AND TRAINING SOLUTIONS SDN BHD FOR ONE PLUS ONE (1+1) YEARS TENDER BATCH: BELTS/MSC/PROC/MC/2024/2
No. | PARTICULARS | SPECIFICATION AND REQUIREMENT | INFORMATION REQUIRED | ITEM 21 | ITEM 22 | ITEM 23 | ITEM 24 | ITEM 25
|  |  |  | X-Ray Detectable Ribbon Gauze Size: 2" (Sterile With Ray-Tec Line) | Gauze Swab Plain BPC Size: 3" x 3" x 12ply | Adhesive Plaster Porous Hypoallergenic Size: 3" (Zinc Oxide) | Thoracic Trocar Cannula Size: 28FR | Thoracic Trocar Cannula Size: 32FR
1 | Product details | Details of Brand | Product / Brand Name including Item Code (if applicable)
|  | Details of Pack Size and Type of Presentation Offered | Pack Size
|  | The name of Manufacturer where product is obtained and its details | Manufacturer information
2 | Product Specifications | Indicate if the product specifications are met, if not please specify accordingly | Please refer to individual item's required specifications | - packing gauze consists of folded, absorbent, 100% cotton in 4 ply conforming to BP standards - the tucked-in folded ends ensure that there are no loose fibres - packing is sterile pre-packs, plain - with x-ray detectable (ray-tec) - length: 1m - size: 1" | - size: 3" x 3" (7.5cm x 7.5cm) x 12 ply - 100% cotton - non-sterile - bleached to a good white - clean and odourless - quick absorbent - certified: CE/FDA/ISO | - with polyester / cotton fabric as back liner, as its surface coated with natural rubber and zinc as adhesive - water repellent, porous, permeable to air and moisture - anti-inflammation and anti-allergic - ribbed or flat edges, easy to tear - it is suitable for fixing dressing and light duct at surgery - size: 3" | - Suitable for effective drainage after cardio-thoracic & Thoracic surgery. - Atraumatic & rounded open distal end with smooth eyes. - Proximal end is fitted with pull through tapered tongue. - With radio-opaque line and markings at every 2cm from the last eye. - Lateral eyes to prevent tissue aspiration. - Matching size connetor for easy connection to the drainage system. - Soft, frosted and kink resistant PVC tubing. - Length: 45cm. - Sterile, ready for use. | - Suitable for effective drainage after cardio-thoracic & Thoracic surgery. - Atraumatic & rounded open distal end with smooth eyes. - Proximal end is fitted with pull through tapered tongue. - With radio-opaque line and markings at every 2cm from the last eye. - Lateral eyes to prevent tissue aspiration. - Matching size connetor for easy connection to the drainage system. - Soft, frosted and kink resistant PVC tubing. - Length: 45cm. - Sterile, ready for use.
3 | Lead Time | Specify the lead time of new production of Goods inclusive redressing, in Weeks or Months | Lead time for New Production of Item including redressing
4 | Delivery Period | Please indicate the lead-time for delivery period including shipment to Brunei Darussalam. The shortest or specific lead-time will be preferred. Not acceptable if language used to describe lead time as “Not more than 60-90 days upon confirmation, however subject to stocks availability upon receipt of purchase order” would be regarded as unspecified lead time which therefore be considered as the longest lead-time | Lead time for delivery of item to Brunei Darussalam
5 | Ex-Stock Availability | Indicate whether existing stock is available for immediate purchase and the quantity in hand. Availability of ex-stock will be preferred | Ex-Stock of item available with supplier
Quantity available
6 | Sample Submitted | *If the conditions below applies to the items offered, Bidders are REQUIRED to submit sample of products for evaluation: • The Bidder has not supplied the product to BELTS or MOH; or • The Bidder has previously supplied the product to BELTS or MOH, however has exceeded two (2) years from the date of Tender released; or Failure to submit samples will automatically disqualify the Bidder from evaluation in the Tender. Samples are required to be submitted in the following conditions with Annex C Sample Submission Form: • Must be submitted in untampered original pack including its package insert; • The sample should be labelled with tender reference number and listed item no.; • Must be submitted with Submission of Sample Form; and Bidder are reminded to ensure the product sample match with their offer. | Sample Ref. No (MC/2024/01/Sample…)
7 | Other details / documents provided | The followings are required to be submitted: High resolution and legible color photo images of the following: • Photo images of product offered which must include essential details of label on the primary and secondary packaging such as product name / manufacturer details - from all sides/angles of the packaging. (Please attached with the document) • Brochures with Instruction for use/product manuals submitted (Kindly submit official brochures for offerd items) | Product Images and Product Brochures provided
|  | The storage condition of the product should be labelled in accordance with ASEAN Guideline on Stability Study of Drug Product. Specific temperature for storage condition should be indicated. Not acceptable by using these terms such as “ambient conditions”, “room temperature” or “does not require any special storage condition”; unless enclosed with stability study document. | Storage Conditions
|  | Minimum of 24 months on receipt; unless the item’s manufactured shelf life is less than 24 months; short expiry date items agreed to be accepted by BELTS with prior knowledge before delivery and with letter of undertaking provided. Product with longer shelf-life will be given preference. | a. Product shelf-life b. Minimum shelf-life upon receipt
|  | Indicate 'Yes' or 'No' and its reference if the product offered has been supplied to MOH or BELTS | Indicate if previously supplied to MOH or BELTS (RFQ or Tender Reference with month and year)

## Sch 3 - Item 26 - Item 30
SCHEDULE 3 TECHNICAL PROPOSAL - DETAILS OF PRODUCTS OFFERED THE SUPPLY AND DELIVERY OF MEDICAL CONSUMABLES FOR BRUNEI ENGINEERING, LOGISTICS AND TRAINING SOLUTIONS SDN BHD FOR ONE PLUS ONE (1+1) YEARS TENDER BATCH: BELTS/MSC/PROC/MC/2024/2
No. | PARTICULARS | SPECIFICATION AND REQUIREMENT | INFORMATION REQUIRED | ITEM 26 | ITEM 27 | ITEM 28 | ITEM 29 | ITEM 30
|  |  |  | Spinal Needle Size: 18G | Spinal Needle Size: 22G | Spinal Needle Size: 20G | Endotracheal Tube, Oral/Nasal Ivory 3.0mm Uncuffed | Endotracheal Tube, Oral/Nasal Ivory 3.5mm Uncuffed
1 | Product details | Details of Brand | Product / Brand Name including Item Code (if applicable)
|  | Details of Pack Size and Type of Presentation Offered | Pack Size
|  | The name of Manufacturer where product is obtained and its details | Manufacturer information
2 | Product Specifications | Indicate if the product specifications are met, if not please specify accordingly | Please refer to individual item's required specifications | - colour coded needle hub - single use - sterilization: ETO - size: 18G - length of needle: 3 1/2" (90mm) - colour code: pink | - colour coded needle hub - single use - sterilization: ETO - size: 20G - length of needle: 3 1/2" (90mm) - colour code: yellow | - colour coded needle hub - single use - sterilization: ETO - size: 22G - length of needle: 3 1/2" (90mm) - colour code: black | - endotracheal tube - radiopaque line - non-latex - siliconised oral/nasal - uncuffed - paediatric use - size: 3.0mm | - endotracheal tube - radiopaque line - non-latex - siliconised oral/nasal - uncuffed - paediatric use - size: 3.5mm
3 | Lead Time | Specify the lead time of new production of Goods inclusive redressing, in Weeks or Months | Lead time for New Production of Item including redressing
4 | Delivery Period | Please indicate the lead-time for delivery period including shipment to Brunei Darussalam. The shortest or specific lead-time will be preferred. Not acceptable if language used to describe lead time as “Not more than 60-90 days upon confirmation, however subject to stocks availability upon receipt of purchase order” would be regarded as unspecified lead time which therefore be considered as the longest lead-time | Lead time for delivery of item to Brunei Darussalam
5 | Ex-Stock Availability | Indicate whether existing stock is available for immediate purchase and the quantity in hand. Availability of ex-stock will be preferred | Ex-Stock of item available with supplier
Quantity available
6 | Sample Submitted | *If the conditions below applies to the items offered, Bidders are REQUIRED to submit sample of products for evaluation: • The Bidder has not supplied the product to BELTS or MOH; or • The Bidder has previously supplied the product to BELTS or MOH, however has exceeded two (2) years from the date of Tender released; or Failure to submit samples will automatically disqualify the Bidder from evaluation in the Tender. Samples are required to be submitted in the following conditions with Annex C Sample Submission Form: • Must be submitted in untampered original pack including its package insert; • The sample should be labelled with tender reference number and listed item no.; • Must be submitted with Submission of Sample Form; and Bidder are reminded to ensure the product sample match with their offer. | Sample Ref. No (MC/2024/01/Sample…)
7 | Other details / documents provided | The followings are required to be submitted: High resolution and legible color photo images of the following: • Photo images of product offered which must include essential details of label on the primary and secondary packaging such as product name / manufacturer details - from all sides/angles of the packaging. (Please attached with the document) • Brochures with Instruction for use/product manuals submitted (Kindly submit official brochures for offerd items) | Product Images and Product Brochures provided
|  | The storage condition of the product should be labelled in accordance with ASEAN Guideline on Stability Study of Drug Product. Specific temperature for storage condition should be indicated. Not acceptable by using these terms such as “ambient conditions”, “room temperature” or “does not require any special storage condition”; unless enclosed with stability study document. | Storage Conditions
|  | Minimum of 24 months on receipt; unless the item’s manufactured shelf life is less than 24 months; short expiry date items agreed to be accepted by BELTS with prior knowledge before delivery and with letter of undertaking provided. Product with longer shelf-life will be given preference. | a. Product shelf-life b. Minimum shelf-life upon receipt
|  | Indicate 'Yes' or 'No' and its reference if the product offered has been supplied to MOH or BELTS | Indicate if previously supplied to MOH or BELTS (RFQ or Tender Reference with month and year)

## Sch 3 - Item 31- Item 35
SCHEDULE 3 TECHNICAL PROPOSAL - DETAILS OF PRODUCTS OFFERED THE SUPPLY AND DELIVERY OF MEDICAL CONSUMABLES FOR BRUNEI ENGINEERING, LOGISTICS AND TRAINING SOLUTIONS SDN BHD FOR ONE PLUS ONE (1+1) YEARS TENDER BATCH: BELTS/MSC/PROC/MC/2024/2
No. | PARTICULARS | SPECIFICATION AND REQUIREMENT | INFORMATION REQUIRED | ITEM 31 | ITEM 32 | ITEM 33 | ITEM 34 | ITEM 35
|  |  |  | Endotracheal Tube, Oral/Nasal Ivory 4.0mm Uncuffed | Endotracheal Tube, Oral/Nasal Ivory 4.5mm Uncuffed | Endotracheal Tube, Oral/Nasal Ivory 5.0mm Uncuffed | North Facing Nasal Soft Endotracheal Tube, Endotracheal Tube Nasal Ivory 6.0mm Cuffed | Nylon: 16mm 3/8 Reverse Cutting Needle, Thread Length ≥ 75cm Blue (Size 4/0)
1 | Product details | Details of Brand | Product / Brand Name including Item Code (if applicable)
|  | Details of Pack Size and Type of Presentation Offered | Pack Size
|  | The name of Manufacturer where product is obtained and its details | Manufacturer information
2 | Product Specifications | Indicate if the product specifications are met, if not please specify accordingly | Please refer to individual item's required specifications | - endotracheal tube - radiopaque line - non-latex - siliconised oral/nasal - uncuffed - paediatric use - size: 4.0mm | - endotracheal tube - radiopaque line - non-latex - siliconised oral/nasal - uncuffed - paediatric use - size: 4.5mm | - endotracheal tube - radiopaque line - non-latex - siliconised oral/nasal - uncuffed - paediatric use - size: 5.0mm | - North Facing - Soft endotracheal tube - siliconised oral/nasal with l/h pressure profile cuff - non-latex - radiopaque line - murphy eye - size: 6.0mm | - nylon - 16mm 3/8 reverse cutting needle - thread length ≥ 75cm - thread length colour: blue - size: 4/0
3 | Lead Time | Specify the lead time of new production of Goods inclusive redressing, in Weeks or Months | Lead time for New Production of Item including redressing
4 | Delivery Period | Please indicate the lead-time for delivery period including shipment to Brunei Darussalam. The shortest or specific lead-time will be preferred. Not acceptable if language used to describe lead time as “Not more than 60-90 days upon confirmation, however subject to stocks availability upon receipt of purchase order” would be regarded as unspecified lead time which therefore be considered as the longest lead-time | Lead time for delivery of item to Brunei Darussalam
5 | Ex-Stock Availability | Indicate whether existing stock is available for immediate purchase and the quantity in hand. Availability of ex-stock will be preferred | Ex-Stock of item available with supplier
Quantity available
6 | Sample Submitted | *If the conditions below applies to the items offered, Bidders are REQUIRED to submit sample of products for evaluation: • The Bidder has not supplied the product to BELTS or MOH; or • The Bidder has previously supplied the product to BELTS or MOH, however has exceeded two (2) years from the date of Tender released; or Failure to submit samples will automatically disqualify the Bidder from evaluation in the Tender. Samples are required to be submitted in the following conditions with Annex C Sample Submission Form: • Must be submitted in untampered original pack including its package insert; • The sample should be labelled with tender reference number and listed item no.; • Must be submitted with Submission of Sample Form; and Bidder are reminded to ensure the product sample match with their offer. | Sample Ref. No (MC/2024/01/Sample…)
7 | Other details / documents provided | The followings are required to be submitted: High resolution and legible color photo images of the following: • Photo images of product offered which must include essential details of label on the primary and secondary packaging such as product name / manufacturer details - from all sides/angles of the packaging. (Please attached with the document) • Brochures with Instruction for use/product manuals submitted (Kindly submit official brochures for offerd items) | Product Images and Product Brochures provided
|  | The storage condition of the product should be labelled in accordance with ASEAN Guideline on Stability Study of Drug Product. Specific temperature for storage condition should be indicated. Not acceptable by using these terms such as “ambient conditions”, “room temperature” or “does not require any special storage condition”; unless enclosed with stability study document. | Storage Conditions
|  | Minimum of 24 months on receipt; unless the item’s manufactured shelf life is less than 24 months; short expiry date items agreed to be accepted by BELTS with prior knowledge before delivery and with letter of undertaking provided. Product with longer shelf-life will be given preference. | a. Product shelf-life b. Minimum shelf-life upon receipt
|  | Indicate 'Yes' or 'No' and its reference if the product offered has been supplied to MOH or BELTS | Indicate if previously supplied to MOH or BELTS (RFQ or Tender Reference with month and year)

## Sch 3 - Item 36- Item 40
SCHEDULE 3 TECHNICAL PROPOSAL - DETAILS OF PRODUCTS OFFERED THE SUPPLY AND DELIVERY OF MEDICAL CONSUMABLES FOR BRUNEI ENGINEERING, LOGISTICS AND TRAINING SOLUTIONS SDN BHD FOR ONE PLUS ONE (1+1) YEARS TENDER BATCH: BELTS/MSC/PROC/MC/2024/2
No. | PARTICULARS | SPECIFICATION AND REQUIREMENT | INFORMATION REQUIRED | ITEM 36 | ITEM 37 | ITEM 38 | ITEM 39 | ITEM 40
|  |  |  | Nylon: 19mm 3/8 Reverse Cutting Needle, Thread Length ≥ 75cm Blue (Size 3/0) | Nylon: 24mm 3/8 Reverse Cutting Needle, Thread Length ≥ 75cm Blue (Size 2/0) | Nylon: 16mm 3/8 Circle Reverse Cutting Needle, Thread Length ≥ 45cm Blue (Size 6/0) | Silk: 26mm 1/2 Circle Round Bodied Needle, Thread Length ≥ 75cm (Size 0) | Silk: 30mm 3/8 Circle Reverse Cutting Needle, Thread Length ≥ 75cm (Size 2/0)
1 | Product details | Details of Brand | Product / Brand Name including Item Code (if applicable)
|  | Details of Pack Size and Type of Presentation Offered | Pack Size
|  | The name of Manufacturer where product is obtained and its details | Manufacturer information
2 | Product Specifications | Indicate if the product specifications are met, if not please specify accordingly | Please refer to individual item's required specifications | - nylon - 19mm 3/8 reverse cutting needle - thread length ≥ 75cm - thread length colour: blue - size: 3/0 | - nylon - 24mm 3/8 reverse cutting needle - thread length ≥ 75cm - thread length colour: blue - size: 2/0 | - nylon - 16mm 3/8 reverse cutting needle - thread length ≥ 45cm - thread length colour: blue - size: 6/0 | - silk - 26mm 1/2 circle round bodied needle - thread length ≥ 75cm - size: 0 | - silk - 30mm 3/8 circle reverse cutting needle - thread length ≥ 75cm - size: 2/0
3 | Lead Time | Specify the lead time of new production of Goods inclusive redressing, in Weeks or Months | Lead time for New Production of Item including redressing
4 | Delivery Period | Please indicate the lead-time for delivery period including shipment to Brunei Darussalam. The shortest or specific lead-time will be preferred. Not acceptable if language used to describe lead time as “Not more than 60-90 days upon confirmation, however subject to stocks availability upon receipt of purchase order” would be regarded as unspecified lead time which therefore be considered as the longest lead-time | Lead time for delivery of item to Brunei Darussalam
5 | Ex-Stock Availability | Indicate whether existing stock is available for immediate purchase and the quantity in hand. Availability of ex-stock will be preferred | Ex-Stock of item available with supplier
Quantity available
6 | Sample Submitted | *If the conditions below applies to the items offered, Bidders are REQUIRED to submit sample of products for evaluation: • The Bidder has not supplied the product to BELTS or MOH; or • The Bidder has previously supplied the product to BELTS or MOH, however has exceeded two (2) years from the date of Tender released; or Failure to submit samples will automatically disqualify the Bidder from evaluation in the Tender. Samples are required to be submitted in the following conditions with Annex C Sample Submission Form: • Must be submitted in untampered original pack including its package insert; • The sample should be labelled with tender reference number and listed item no.; • Must be submitted with Submission of Sample Form; and Bidder are reminded to ensure the product sample match with their offer. | Sample Ref. No (MC/2024/01/Sample…)
7 | Other details / documents provided | The followings are required to be submitted: High resolution and legible color photo images of the following: • Photo images of product offered which must include essential details of label on the primary and secondary packaging such as product name / manufacturer details - from all sides/angles of the packaging. (Please attached with the document) • Brochures with Instruction for use/product manuals submitted (Kindly submit official brochures for offerd items) | Product Images and Product Brochures provided
|  | The storage condition of the product should be labelled in accordance with ASEAN Guideline on Stability Study of Drug Product. Specific temperature for storage condition should be indicated. Not acceptable by using these terms such as “ambient conditions”, “room temperature” or “does not require any special storage condition”; unless enclosed with stability study document. | Storage Conditions
|  | Minimum of 24 months on receipt; unless the item’s manufactured shelf life is less than 24 months; short expiry date items agreed to be accepted by BELTS with prior knowledge before delivery and with letter of undertaking provided. Product with longer shelf-life will be given preference. | a. Product shelf-life b. Minimum shelf-life upon receipt
|  | Indicate 'Yes' or 'No' and its reference if the product offered has been supplied to MOH or BELTS | Indicate if previously supplied to MOH or BELTS (RFQ or Tender Reference with month and year)

## Sch 3 - Item 41- Item 43
SCHEDULE 3 TECHNICAL PROPOSAL - DETAILS OF PRODUCTS OFFERED THE SUPPLY AND DELIVERY OF MEDICAL CONSUMABLES FOR BRUNEI ENGINEERING, LOGISTICS AND TRAINING SOLUTIONS SDN BHD FOR ONE PLUS ONE (1+1) YEARS TENDER BATCH: BELTS/MSC/PROC/MC/2024/2
No. | PARTICULARS | SPECIFICATION AND REQUIREMENT | INFORMATION REQUIRED | ITEM 41 | ITEM 42 | ITEM 43
|  |  |  | Silk: 30mm 3/8 Circle Reverse Cutting Needle, Thread Length ≥ 75cm (Size 3/0) | Remote Injection Catheter, Length 150cm, Sterile, Single Use | Terufusion Solution Administration Set
1 | Product details | Details of Brand | Product / Brand Name including Item Code (if applicable)
|  | Details of Pack Size and Type of Presentation Offered | Pack Size
|  | The name of Manufacturer where product is obtained and its details | Manufacturer information
2 | Product Specifications | Indicate if the product specifications are met, if not please specify accordingly | Please refer to individual item's required specifications | - silk - 30mm 3/8 circle reverse cutting needle - thread length ≥ 75cm - size: 3/0 | - The highly flexible and kink resistant tubing minimises disruption to the flow of fluids. - The rotating hub prevents the tube from coiling up when connecting between a device and the IV access point. - Easy to connect to an infusion set, syringe or three-way stopcock, with a luer lock on one end and a slip tip at the other. - Highly transparent tube - Very flexible - Latex Free | - the set is maintaining a reliable drip rate over a long period of time - the uniform shape of transparent drip chamber makes drip monitoring convenient - equipped with a constant flow-rate clamp and small bore tube - a 40 micron pore size filter is provided at the rear of the connector for removal or particles - latex free - deliver rate 20 drops per millilitre - spike needle plastic - air vent needle - phlebotomy needle: 21G - with connector
3 | Lead Time | Specify the lead time of new production of Goods inclusive redressing, in Weeks or Months | Lead time for New Production of Item including redressing
4 | Delivery Period | Please indicate the lead-time for delivery period including shipment to Brunei Darussalam. The shortest or specific lead-time will be preferred. Not acceptable if language used to describe lead time as “Not more than 60-90 days upon confirmation, however subject to stocks availability upon receipt of purchase order” would be regarded as unspecified lead time which therefore be considered as the longest lead-time | Lead time for delivery of item to Brunei Darussalam
5 | Ex-Stock Availability | Indicate whether existing stock is available for immediate purchase and the quantity in hand. Availability of ex-stock will be preferred | Ex-Stock of item available with supplier
Quantity available
6 | Sample Submitted | *If the conditions below applies to the items offered, Bidders are REQUIRED to submit sample of products for evaluation: • The Bidder has not supplied the product to BELTS or MOH; or • The Bidder has previously supplied the product to BELTS or MOH, however has exceeded two (2) years from the date of Tender released; or Failure to submit samples will automatically disqualify the Bidder from evaluation in the Tender. Samples are required to be submitted in the following conditions with Annex C Sample Submission Form: • Must be submitted in untampered original pack including its package insert; • The sample should be labelled with tender reference number and listed item no.; • Must be submitted with Submission of Sample Form; and Bidder are reminded to ensure the product sample match with their offer. | Sample Ref. No (MC/2024/01/Sample…)
7 | Other details / documents provided | The followings are required to be submitted: High resolution and legible color photo images of the following: • Photo images of product offered which must include essential details of label on the primary and secondary packaging such as product name / manufacturer details - from all sides/angles of the packaging. (Please attached with the document) • Brochures with Instruction for use/product manuals submitted (Kindly submit official brochures for offerd items) | Product Images and Product Brochures provided
|  | The storage condition of the product should be labelled in accordance with ASEAN Guideline on Stability Study of Drug Product. Specific temperature for storage condition should be indicated. Not acceptable by using these terms such as “ambient conditions”, “room temperature” or “does not require any special storage condition”; unless enclosed with stability study document. | Storage Conditions
|  | Minimum of 24 months on receipt; unless the item’s manufactured shelf life is less than 24 months; short expiry date items agreed to be accepted by BELTS with prior knowledge before delivery and with letter of undertaking provided. Product with longer shelf-life will be given preference. | a. Product shelf-life b. Minimum shelf-life upon receipt
|  | Indicate 'Yes' or 'No' and its reference if the product offered has been supplied to MOH or BELTS | Indicate if previously supplied to MOH or BELTS (RFQ or Tender Reference with month and year)