## Specification
SCHEDULE 3 TECHNICAL PROPOSAL - DETAILS OF PRODUCTS OFFERED THE SUPPLY AND DELIVERY OF MEDICAL CONSUMABLES FOR BRUNEI ENGINEERING, LOGISTICS AND TRAINING SOLUTIONS SDN BHD FOR ONE PLUS ONE (1+1) YEARS TENDER BATCH: BELTS/MSC/PROC/MC/2024/1 Amendment No: 01 Amendment Date: 24 September 2024
NO. | ITEM DESCRIPTION | SPECIFICATION | UOM | ESTIMATED ANNUAL USAGE | BUFFER STOCK REQUIRED | SHELF LIFE | DELIVERY PERIOD
1 | Neb-U Mask (UP-Draft II or Equivalent) Complete With Tubing Size: Infant | - made of soft and clear plastic and has elastic strap for added comfort - reusable nebulizer kit - anti-spill design helps prevent medication waste and allows the unit to be used at any angle to accommodate various patient positions - provide fine particles with a tighter distribution (higher percentage of respirable particles) than conventional nebulizers - includes a clear aerosol mask, a nebulizer cap, a nebulizer jet, a nebulizer jar and 7 foot supply tubing - size: infant | PIECE | 600 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
2 | Oxygen Mask Complete With Tubing Size: Infant | - For paediatric/neonate oxygen therapy | PIECE | 1000 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
3 | Oxygen Nasal Cannula Size: Paediatric | - anatomically designed to enhance patient comfort and acceptance - softtech, 7' star lumen tubing, standard oxygen connector which allow direct attachment to flow meter - delivers safe,low/moderate concentrations of oxygen for extended periods of time - comes with kink-resistant supplying tube - over--the-ear design provides a comfortable and secure fit - size: paediatric | PIECE | 1700 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
4 | Umbilical Cannula Blue Line Size: 6FG | - size 4FG - Pyrogen free -Transparent PVC and Radiopaque , latex free -Length 37cm -luer lock end. | PIECE | 500 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
5 | Umbilical Cannula Blue Line Size: 4FG | - size 6FG - Pyrogen free -Transparent PVC and Radiopaque, latex free. -Length 37cm -luer lock end. | PIECE | 500 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
6 | Machine-Filter - Patient End Heat & Moisture Exchanger / Bacterial Filter (Paediatric) | - heat and moisture exchanger for spontaneously breathing patients, oxygen port to supply additional prewarmed, enables suctioning without removing the device | PIECE | 16800 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
7 | Machine-Filter - Patient End Heat & Moisture Exchanger / Bacterial Filter (Adult) | - a compact, lightweight, high performance electrostatic filter consisting of three-layer, water repellent membrane, combined with a hygroscopic membrane providing humidification and heating of inspired gases - also features a capnography port - bacterial filter efficiency: 9.99% - viral filtration efficiency: 9.99% - moisture output after: tidal 2 hrs # 24 hours # volume @ 250ml 3 1.4mg/l 3 1.3mg/l @ 500ml 30.6mg/l 30.7mg/l @ 1000ml 29.3mg/l 29.2mg/l - temp output: tidal 2 hrs 24 hours # volume @ 250ml 3 1 .O°C 3 1.O°C @ 500ml 30.9OC 3 1.2OC @ 1000ml 30.2OC 30.1 OC - relative humidity during: 92-98% inspiration phase - resistance to flow after: 30 l/min # 1.0cm/H₂0 # 24 hours at : 60 l/min 2.5cm/H₂0 # 90 l/min 4.7cm/H₂0 - CornpmssiMe Volume: 45ml - weight: 30g - filtration surface: 23cm² - moisture exchange surface > ¦ 100cm² - connections : 22M/15F-22F-15M - recommended use cycle:83:83up to 24 hours - packaging: peel pack, single use and sterile | PIECE | 30000 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
8 | Identification Band For Infant / Child | - size: information area - 87mm x 20mm - for adult inf/child - material: # light weight strong, soft vinyl # non-transferable, secure plastic snap provides maximum security # clear shield easy to read # protect from water and other abrasives # not allergy to skin - patient's bar code (provided by the Medical Record) can fit into the identification band | BOX | 300 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
9 | Identification Band For Adult - Colour Red | - size: information area - 87mm x 20mm - colour: RED for patient allergy to medication - material: # light weight strong, soft vinyl # non-transferable, secure plastic snap provides maximum security # clear shield easy to read # protect from water and other abrasives # not allergy to skin - patient's bar code (provided by the Medical Record) can fit into the identification band | BOX | 300 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
10 | Identification Band For Adult - Colour Blue | - size: information area - 87mm x 20mm - colour: BLUE for adult surgical patient - material: # light weight strong, soft vinyl # non-transferable, secure plastic snap provides maximum security # clear shield easy to read # protect from water and other abrasives # not allergy to skin - patient's bar code (provided by the Medical Record) can fit into the identification band | BOX | 750 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
11 | Tourniquet Size: Standard | - Rubber tourniquet - size: standard - Material: Rubber - tear resistant | PIECE | 1400 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
12 | Swab Stick With Cotton Bud On End (Orange Stick) | - medical grade wood shaft suitable for hospital or clinical use - wooden stick: 15cm length, safe-use and better grip - highly absorbent cotton tipped - one sided cotton tip, ensure priority collection of specimen - cotton strands are spun and firmly attached to wooden sticks to prevent cotton from coming loose - non-sterile - single use | PACK | 7,000 (7,000 x 10's) | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
13 | Intermittent Injection Caps Sterile Non-Toxic Non-Progenic | The Universal intermittent injection luer lock cap is a yellow cap with the injection discs are manufactured from Isoprene. | BOX | 3,000 (3,000 x 100's) | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
14 | Mediswab For Injection Sterile | - alcohol prep - made of two ply non-woven material - impregnated with 70 isoproplyl alcohol BP - sealed in a single, flexible foil laminate sachet - easy for tear-apart | PIECE | 8,400,000 (42,000 x 200's) | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
15 | Terufusion Solution Administration Set For Infusion Pump | - design and fit for use with the current terufusion infusion pump (terumo infusion pump) - the tube is very durable and last for a long period of time ensuring the stabilization of solution administration - drip rate 15 drops per millilitre - spike needle plastic - air vent needle - luer connector | PIECE | 90,000 (4,500 x 20's) | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
16 | Terufusion Volumetric Infusion Set | - design and fit for use with the current terufusion infusion pump (terumo infusion pump) - the tube is very durable and last for a long period of time ensuring the stabilization of solution administration - drip rate 60 drops per millilitre - spike needle plastic - air vent needle - with connector | SET | 20,000 (2,000 x 10's) | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
17 | Terufusion Blood Administration Set | - the set is maintaining a reliable drip rate over a long period of time - deliver rate 20 drops per millilitre - spike needle plastic - air vent needle - vein needle size 18G pre-connected - with connector | SET | 38,400 (768 x 50's) | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
18 | Extension Tube For Use With Pumps (Blood Terufusion Extension Tube) | - single use - compatible to use with existing Terumo pump - sterilized with Ethylene Oxide - can withstand in-line pressure - DEHP free - CE mark | PIECE | 2500 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
19 | Nurses Cap Disposable | - nurses caps - lint free, latex-free, extra protection - material: non-woven polypropylene and latex-free - craft: double string elastic cover full circumference of cap - weight: 20-35gsm - comfortable for long durations | PIECE | 90000 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
20 | Theatre Cap Disposable | - surgeon caps - lint-free, latex-free, extra protection - material: non-woven polypropylene material and latex - colours: blue or green - crafts: tie at back - size: universal - weight: 20-35gsm - comfortable for long durations | PIECE | 40000 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
21 | Overshoes Cover PVC Disposable | - made from a textured, plastic material, anti-skid / anti-slip protection on hard wood floors or tile - shoe cover fit up to a size 18 work boot - protect from cross conatmination, bacteria and hazardous material - colour: light blue | PIECE | 15000 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
22 | Black Duthene Trash Bag Size: 30" x 30" x 0.05mm | - Black Color - size: 30" x 30" x 0.05m | KG | 600 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
23 | Winged Infusion Set Log Sterile Single Use Needle Length 3/4" Extension Tube Length 19" Size: 21G x 3/4" | - the wing is flexible interlocking wings readily comform to the body's contour - the wing is angled for ease of positioning of the needle during venepuncture for less risk of vessel damage or occusion of lumen - the wing is a device specialized for venepuncture i.e. for accessing a superficial vein for either intravenous injection phlebotomy of scalp vein - the wing offers advantages over a single straight needle - single use and sterile - non-pyrogenic - the honey sharp needle with ultra-thin wall design assures ease penetration and continues access with a single insertion - DEHP free - size: 19G x 3/4" | PIECE | 3000 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
24 | Winged Infusion Set Log Sterile Single Use Needle Length 3/4" Extension Tube Length 12" Size: 21G x 3/4" | - the wing is flexible interlocking wings readily comform to the body's contour - the wing is angled for ease of positioning of the needle during venepuncture for less risk of vessel damage or occusion of lumen - the wing is a device specialized for venepuncture i.e. for accessing a superficial vein for either intravenous injection phlebotomy of scalp vein - the wing offers advantages over a single straight needle - single use and sterile - non-pyrogenic - the honey sharp needle with ultra-thin wall design assures ease penetration and continues access with a single insertion - DEHP free - size: 21G x 3/4" | PIECE | 16000 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
25 | Winged Infusion Set Log Sterile Single Use Needle Length 3/4" Extension Tube Length 12" Size: 22G x 3/4" | - the wing is flexible interlocking wings readily comform to the body's contour - the wing is angled for ease of positioning of the needle during venepuncture for less risk of vessel damage or occusion of lumen - the wing is a device specialized for venepuncture i.e. for accessing a superficial vein for either intravenous injection phlebotomy of scalp vein - the wing offers advantages over a single straight needle - single use and sterile - non-pyrogenic - the honey sharp needle with ultra-thin wall design assures ease penetration and continues access with a single insertion - DEHP free - size: 22G x 3/4" | PIECE | 21000 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
26 | Winged Infusion Set Log Sterile Single Use Needle Length 3/4" Extension Tube Length 12" Size: 23G x 3/4" | - the wing is flexible interlocking wings readily comform to the body's contour - the wing is angled for ease of positioning of the needle during venepuncture for less risk of vessel damage or occusion of lumen - the wing is a device specialized for venepuncture i.e. for accessing a superficial vein for either intravenous injection phlebotomy of scalp vein - the wing offers advantages over a single straight needle - single use and sterile - non-pyrogenic - the honey sharp needle with ultra-thin wall design assures ease penetration and continues access with a single insertion - DEHP free - size: 23G x 3/4" | PIECE | 20000 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
27 | Winged Infusion Set Log Sterile Single Use Needle Length 3/4" Extension Tube Length 12" Size: 25G x 3/4" | - the wing is flexible interlocking wings readily comform to the body's contour - the wing is angled for ease of positioning of the needle during venepuncture for less risk of vessel damage or occusion of lumen - the wing is a device specialized for venepuncture i.e. for accessing a superficial vein for either intravenous injection phlebotomy of scalp vein - the wing offers advantages over a single straight needle - single use and sterile - non-pyrogenic - the honey sharp needle with ultra-thin wall design assures ease penetration and continues access with a single insertion - DEHP free - size: 25G x 3/4" | PIECE | 22000 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock

## Sch 3 - Item 1 - Item 5
SCHEDULE 3 TECHNICAL PROPOSAL - DETAILS OF PRODUCTS OFFERED THE SUPPLY AND DELIVERY OF MEDICAL CONSUMABLES FOR BRUNEI ENGINEERING, LOGISTICS AND TRAINING SOLUTIONS SDN BHD FOR ONE PLUS ONE (1+1) YEARS TENDER BATCH: BELTS/MSC/PROC/MC/2024/1
No. | PARTICULARS | SPECIFICATION AND REQUIREMENT | INFORMATION REQUIRED | ITEM 1 | ITEM 2 | ITEM 3 | ITEM 4 | ITEM 5
|  |  |  | Neb-U Mask (UP-Draft II or Equivalent) Complete With Tubing Size: Infant | Oxygen Mask Complete With Tubing Size: Infant | Oxygen Nasal Cannula Size: Paediatric | Umbilical Cannula Blue Line Size: 6FG | Umbilical Cannula Blue Line Size: 4FG
1 | Product details | Details of Brand | Product / Brand Name including Item Code (if applicable)
|  | Details of Pack Size and Type of Presentation Offered | Pack Size
|  | The name of Manufacturer where product is obtained and its details | Manufacturer information
2 | Product Specifications | Indicate if the product specifications are met, if not please specify accordingly | Please refer to individual item's required specifications | - made of soft and clear plastic and has elastic strap for added comfort - reusable nebulizer kit - anti-spill design helps prevent medication waste and allows the unit to be used at any angle to accommodate various patient positions - provide fine particles with a tighter distribution (higher percentage of respirable particles) than conventional nebulizers - includes a clear aerosol mask, a nebulizer cap, a nebulizer jet, a nebulizer jar and 7 foot supply tubing - size: infant | - For paediatric/neonate oxygen therapy | - anatomically designed to enhance patient comfort and acceptance - softtech, 7' star lumen tubing, standard oxygen connector which allow direct attachment to flow meter - delivers safe,low/moderate concentrations of oxygen for extended periods of time - comes with kink-resistant supplying tube - over--the-ear design provides a comfortable and secure fit - size: paediatric | - size 4FG - Pyrogen free -Transparent PVC and Radiopaque , latex free -Length 37cm -luer lock end. | - size 6FG - Pyrogen free -Transparent PVC and Radiopaque, latex free. -Length 37cm -luer lock end.
3 | Lead Time | Specify the lead time of new production of Goods inclusive redressing, in Weeks or Months | Lead time for New Production of Item including redressing
4 | Delivery Period | Please indicate the lead-time for delivery period including shipment to Brunei Darussalam. The shortest or specific lead-time will be preferred. Not acceptable if language used to describe lead time as “Not more than 60-90 days upon confirmation, however subject to stocks availability upon receipt of purchase order” would be regarded as unspecified lead time which therefore be considered as the longest lead-time | Lead time for delivery of item to Brunei Darussalam
5 | Ex-Stock Availability | Indicate whether existing stock is available for immediate purchase and the quantity in hand. Availability of ex-stock will be preferred | Ex-Stock of item available with supplier
Quantity available
6 | Sample Submitted | *If the conditions below applies to the items offered, Bidders are REQUIRED to submit sample of products for evaluation: • The Bidder has not supplied the product to BELTS or MOH; or • The Bidder has previously supplied the product to BELTS or MOH, however has exceeded two (2) years from the date of Tender released; or Failure to submit samples will automatically disqualify the Bidder from evaluation in the Tender. Samples are required to be submitted in the following conditions with Schedule 4 Technical Proposal - Sample Submission Form: • Must be submitted in untampered original pack including its package insert; • The sample should be labelled with tender reference number and listed item no.; • Must be submitted with Submission of Sample Form; and Bidder are reminded to ensure the product sample match with their offer. | Sample Ref. No (MC/2024/01/Sample…)
7 | Other details / documents provided | The followings are required to be submitted: High resolution and legible color photo images of the following: • Photo images of product offered which must include essential details of label on the primary and secondary packaging such as product name / manufacturer details - from all sides/angles of the packaging. (Please attached with the document) • Brochures with Instruction for use/product manuals submitted (Kindly submit official brochures for offerd items) | Product Images and Product Brochures provided
|  | The storage condition of the product should be labelled in accordance with ASEAN Guideline on Stability Study of Drug Product. Specific temperature for storage condition should be indicated. Not acceptable by using these terms such as “ambient conditions”, “room temperature” or “does not require any special storage condition”; unless enclosed with stability study document. | Storage Conditions
|  | Minimum of 24 months on receipt; unless the item’s manufactured shelf life is less than 24 months; short expiry date items agreed to be accepted by BELTS with prior knowledge before delivery and with letter of undertaking provided. Product with longer shelf-life will be given preference. | a. Product shelf-life b. Minimum shelf-life upon receipt
|  | Indicate 'Yes' or 'No' and its reference if the product offered has been supplied to MOH or BELTS | Indicate if previously supplied to MOH or BELTS (RFQ or Tender Reference with month and year)
Note on D5: Please indicate the pack size offer (e.g 4 x 7's, 3 x 10's, 120ml/bottle)
Note on D6: Manufacturer details: Name, Address & country
Note on D12: For sample that is already submitted to Medical Supply Chain, please indicate the Sample Ref. No (MP/2022/01/Sample…). If sample is not submitted, please indicate the reasons.
Note on D13: Please indicate whether the product images is provided (where applicable)
Note on D14: Please state the storage conditions [Ref. to Annex C, no. 6]
Note on D16: If previously supplied to MOH, please provide tender/ qtn ref. [ref. to Annex C, no. 6]

## Sch 3 - Item 6 - Item 10
SCHEDULE 3 TECHNICAL PROPOSAL - DETAILS OF PRODUCTS OFFERED THE SUPPLY AND DELIVERY OF MEDICAL CONSUMABLES FOR BRUNEI ENGINEERING, LOGISTICS AND TRAINING SOLUTIONS SDN BHD FOR ONE PLUS ONE (1+1) YEARS TENDER BATCH: BELTS/MSC/PROC/MC/2024/1
No. | PARTICULARS | SPECIFICATION AND REQUIREMENT | INFORMATION REQUIRED | ITEM 6 | ITEM 7 | ITEM 8 | ITEM 9 | ITEM 10
|  |  |  | Machine-Filter - Patient End Heat & Moisture Exchanger / Bacterial Filter (Paediatric) | Machine-Filter - Patient End Heat & Moisture Exchanger / Bacterial Filter (Adult) | Identification Band For Infant / Child | Identification Band For Adult - Colour Red | Identification Band For Adult - Colour Blue
1 | Product details | Details of Brand | Product / Brand Name including Item Code (if applicable)
|  | Details of Pack Size and Type of Presentation Offered | Pack Size
|  | The name of Manufacturer where product is obtained and its details | Manufacturer information
2 | Product Specifications | Indicate if the product specifications are met, if not please specify accordingly | Please refer to individual item's required specifications | - heat and moisture exchanger for spontaneously breathing patients, oxygen port to supply additional prewarmed, enables suctioning without removing the device | - a compact, lightweight, high performance electrostatic filter consisting of three-layer, water repellent membrane, combined with a hygroscopic membrane providing humidification and heating of inspired gases - also features a capnography port - bacterial filter efficiency: 9.99% - viral filtration efficiency: 9.99% - moisture output after: tidal 2 hrs # 24 hours # volume @ 250ml 3 1.4mg/l 3 1.3mg/l @ 500ml 30.6mg/l 30.7mg/l @ 1000ml 29.3mg/l 29.2mg/l - temp output: tidal 2 hrs 24 hours # volume @ 250ml 3 1 .O°C 3 1.O°C @ 500ml 30.9OC 3 1.2OC @ 1000ml 30.2OC 30.1 OC - relative humidity during: 92-98% inspiration phase - resistance to flow after: 30 l/min # 1.0cm/H₂0 # 24 hours at : 60 l/min 2.5cm/H₂0 # 90 l/min 4.7cm/H₂0 - CornpmssiMe Volume: 45ml - weight: 30g - filtration surface: 23cm² - moisture exchange surface > ¦ 100cm² - connections : 22M/15F-22F-15M - recommended use cycle:83:83up to 24 hours - packaging: peel pack, single use and sterile | - size: information area - 87mm x 20mm - for adult inf/child - material: # light weight strong, soft vinyl # non-transferable, secure plastic snap provides maximum security # clear shield easy to read # protect from water and other abrasives # not allergy to skin - patient's bar code (provided by the Medical Record) can fit into the identification band | - size: information area - 87mm x 20mm - colour: RED for patient allergy to medication - material: # light weight strong, soft vinyl # non-transferable, secure plastic snap provides maximum security # clear shield easy to read # protect from water and other abrasives # not allergy to skin - patient's bar code (provided by the Medical Record) can fit into the identification band | - size: information area - 87mm x 20mm - colour: BLUE for adult surgical patient - material: # light weight strong, soft vinyl # non-transferable, secure plastic snap provides maximum security # clear shield easy to read # protect from water and other abrasives # not allergy to skin - patient's bar code (provided by the Medical Record) can fit into the identification band
3 | Lead Time | Specify the lead time of new production of Goods inclusive redressing, in Weeks or Months | Lead time for New Production of Item including redressing
4 | Delivery Period | Please indicate the lead-time for delivery period including shipment to Brunei Darussalam. The shortest or specific lead-time will be preferred. Not acceptable if language used to describe lead time as “Not more than 60-90 days upon confirmation, however subject to stocks availability upon receipt of purchase order” would be regarded as unspecified lead time which therefore be considered as the longest lead-time | Lead time for delivery of item to Brunei Darussalam
5 | Ex-Stock Availability | Indicate whether existing stock is available for immediate purchase and the quantity in hand. Availability of ex-stock will be preferred | Ex-Stock of item available with supplier
Quantity available
6 | Sample Submitted | *If the conditions below applies to the items offered, Bidders are REQUIRED to submit sample of products for evaluation: • The Bidder has not supplied the product to BELTS or MOH; or • The Bidder has previously supplied the product to BELTS or MOH, however has exceeded two (2) years from the date of Tender released; or Failure to submit samples will automatically disqualify the Bidder from evaluation in the Tender. Samples are required to be submitted in the following conditions with Schedule 4 Technical Proposal - Sample Submission Form: • Must be submitted in untampered original pack including its package insert; • The sample should be labelled with tender reference number and listed item no.; • Must be submitted with Submission of Sample Form; and Bidder are reminded to ensure the product sample match with their offer. | Sample Ref. No (MC/2024/01/Sample…)
7 | Other details / documents provided | The followings are required to be submitted: High resolution and legible color photo images of the following: • Photo images of product offered which must include essential details of label on the primary and secondary packaging such as product name / manufacturer details - from all sides/angles of the packaging. (Please attached with the document) • Brochures with Instruction for use/product manuals submitted (Kindly submit official brochures for offerd items) | Product Images and Product Brochures provided
|  | The storage condition of the product should be labelled in accordance with ASEAN Guideline on Stability Study of Drug Product. Specific temperature for storage condition should be indicated. Not acceptable by using these terms such as “ambient conditions”, “room temperature” or “does not require any special storage condition”; unless enclosed with stability study document. | Storage Conditions
|  | Minimum of 24 months on receipt; unless the item’s manufactured shelf life is less than 24 months; short expiry date items agreed to be accepted by BELTS with prior knowledge before delivery and with letter of undertaking provided. Product with longer shelf-life will be given preference. | a. Product shelf-life b. Minimum shelf-life upon receipt
|  | Indicate 'Yes' or 'No' and its reference if the product offered has been supplied to MOH or BELTS | Indicate if previously supplied to MOH or BELTS (RFQ or Tender Reference with month and year)
Note on D5: Please indicate the pack size offer (e.g 4 x 7's, 3 x 10's, 120ml/bottle)
Note on D6: Manufacturer details: Name, Address & country
Note on D12: For sample that is already submitted to Medical Supply Chain, please indicate the Sample Ref. No (MP/2022/01/Sample…). If sample is not submitted, please indicate the reasons.
Note on D13: Please indicate whether the product images is provided (where applicable)
Note on D14: Please state the storage conditions [Ref. to Annex C, no. 6]
Note on D16: If previously supplied to MOH, please provide tender/ qtn ref. [ref. to Annex C, no. 6]

## Sch 3 - Item 11 - Item 15
SCHEDULE 3 TECHNICAL PROPOSAL - DETAILS OF PRODUCTS OFFERED THE SUPPLY AND DELIVERY OF MEDICAL CONSUMABLES FOR BRUNEI ENGINEERING, LOGISTICS AND TRAINING SOLUTIONS SDN BHD FOR ONE PLUS ONE (1+1) YEARS TENDER BATCH: BELTS/MSC/PROC/MC/2024/1
No. | PARTICULARS | SPECIFICATION AND REQUIREMENT | INFORMATION REQUIRED | ITEM 11 | ITEM 12 | ITEM 13 | ITEM 14 | ITEM 15
|  |  |  | Tourniquet Size: Standard | Swab Stick With Cotton Bud On End (Orange Stick) | Intermittent Injection Caps Sterile Non-Toxic Non-Progenic | Mediswab For Injection Sterile | Terufusion Solution Administration Set For Infusion Pump
1 | Product details | Details of Brand | Product / Brand Name including Item Code (if applicable)
|  | Details of Pack Size and Type of Presentation Offered | Pack Size
|  | The name of Manufacturer where product is obtained and its details | Manufacturer information
2 | Product Specifications | Indicate if the product specifications are met, if not please specify accordingly | Please refer to individual item's required specifications | - Rubber tourniquet - size: standard - Material: Rubber - tear resistant | - medical grade wood shaft suitable for hospital or clinical use - wooden stick: 15cm length, safe-use and better grip - highly absorbent cotton tipped - one sided cotton tip, ensure priority collection of specimen - cotton strands are spun and firmly attached to wooden sticks to prevent cotton from coming loose - non-sterile - single use | The Universal intermittent injection luer lock cap is a yellow cap with the injection discs are manufactured from Isoprene. | - alcohol prep - made of two ply non-woven material - impregnated with 70 isoproplyl alcohol BP - sealed in a single, flexible foil laminate sachet - easy for tear-apart | - design and fit for use with the current terufusion infusion pump (terumo infusion pump) - the tube is very durable and last for a long period of time ensuring the stabilization of solution administration - drip rate 15 drops per millilitre - spike needle plastic - air vent needle - luer connector
3 | Lead Time | Specify the lead time of new production of Goods inclusive redressing, in Weeks or Months | Lead time for New Production of Item including redressing
4 | Delivery Period | Please indicate the lead-time for delivery period including shipment to Brunei Darussalam. The shortest or specific lead-time will be preferred. Not acceptable if language used to describe lead time as “Not more than 60-90 days upon confirmation, however subject to stocks availability upon receipt of purchase order” would be regarded as unspecified lead time which therefore be considered as the longest lead-time | Lead time for delivery of item to Brunei Darussalam
5 | Ex-Stock Availability | Indicate whether existing stock is available for immediate purchase and the quantity in hand. Availability of ex-stock will be preferred | Ex-Stock of item available with supplier
Quantity available
6 | Sample Submitted | *If the conditions below applies to the items offered, Bidders are REQUIRED to submit sample of products for evaluation: • The Bidder has not supplied the product to BELTS or MOH; or • The Bidder has previously supplied the product to BELTS or MOH, however has exceeded two (2) years from the date of Tender released; or Failure to submit samples will automatically disqualify the Bidder from evaluation in the Tender. Samples are required to be submitted in the following conditions with Schedule 4 Technical Proposal - Sample Submission Form: • Must be submitted in untampered original pack including its package insert; • The sample should be labelled with tender reference number and listed item no.; • Must be submitted with Submission of Sample Form; and Bidder are reminded to ensure the product sample match with their offer. | Sample Ref. No (MC/2024/01/Sample…)
7 | Other details / documents provided | The followings are required to be submitted: High resolution and legible color photo images of the following: • Photo images of product offered which must include essential details of label on the primary and secondary packaging such as product name / manufacturer details - from all sides/angles of the packaging. (Please attached with the document) • Brochures with Instruction for use/product manuals submitted (Kindly submit official brochures for offerd items) | Product Images and Product Brochures provided
|  | The storage condition of the product should be labelled in accordance with ASEAN Guideline on Stability Study of Drug Product. Specific temperature for storage condition should be indicated. Not acceptable by using these terms such as “ambient conditions”, “room temperature” or “does not require any special storage condition”; unless enclosed with stability study document. | Storage Conditions
|  | Minimum of 24 months on receipt; unless the item’s manufactured shelf life is less than 24 months; short expiry date items agreed to be accepted by BELTS with prior knowledge before delivery and with letter of undertaking provided. Product with longer shelf-life will be given preference. | a. Product shelf-life b. Minimum shelf-life upon receipt
|  | Indicate 'Yes' or 'No' and its reference if the product offered has been supplied to MOH or BELTS | Indicate if previously supplied to MOH or BELTS (RFQ or Tender Reference with month and year)
Note on D5: Please indicate the pack size offer (e.g 4 x 7's, 3 x 10's, 120ml/bottle)
Note on D6: Manufacturer details: Name, Address & country
Note on D12: For sample that is already submitted to Medical Supply Chain, please indicate the Sample Ref. No (MP/2022/01/Sample…). If sample is not submitted, please indicate the reasons.
Note on D13: Please indicate whether the product images is provided (where applicable)
Note on D14: Please state the storage conditions [Ref. to Annex C, no. 6]
Note on D16: If previously supplied to MOH, please provide tender/ qtn ref. [ref. to Annex C, no. 6]

## Sch 3 - Item 16 - Item 20
SCHEDULE 3 TECHNICAL PROPOSAL - DETAILS OF PRODUCTS OFFERED THE SUPPLY AND DELIVERY OF MEDICAL CONSUMABLES FOR BRUNEI ENGINEERING, LOGISTICS AND TRAINING SOLUTIONS SDN BHD FOR ONE PLUS ONE (1+1) YEARS TENDER BATCH: BELTS/MSC/PROC/MC/2024/1
No. | PARTICULARS | SPECIFICATION AND REQUIREMENT | INFORMATION REQUIRED | ITEM 16 | ITEM 17 | ITEM 18 | ITEM 19 | ITEM 20
|  |  |  | Terufusion Volumetric Infusion Set | Terufusion Blood Administration Set | Extension Tube For Use With Pumps (Blood Terufusion Extension Tube) | Nurses Cap Disposable | Theatre Cap Disposable
1 | Product details | Details of Brand | Product / Brand Name including Item Code (if applicable)
|  | Details of Pack Size and Type of Presentation Offered | Pack Size
|  | The name of Manufacturer where product is obtained and its details | Manufacturer information
2 | Product Specifications | Indicate if the product specifications are met, if not please specify accordingly | Please refer to individual item's required specifications | - design and fit for use with the current terufusion infusion pump (terumo infusion pump) - the tube is very durable and last for a long period of time ensuring the stabilization of solution administration - drip rate 60 drops per millilitre - spike needle plastic - air vent needle - with connector | - the set is maintaining a reliable drip rate over a long period of time - deliver rate 20 drops per millilitre - spike needle plastic - air vent needle - vein needle size 18G pre-connected - with connector | - single use - compatible to use with existing Terumo pump - sterilized with Ethylene Oxide - can withstand in-line pressure - DEHP free - CE mark | - nurses caps - lint free, latex-free, extra protection - material: non-woven polypropylene and latex-free - craft: double string elastic cover full circumference of cap - weight: 20-35gsm - comfortable for long durations | - surgeon caps - lint-free, latex-free, extra protection - material: non-woven polypropylene material and latex - colours: blue or green - crafts: tie at back - size: universal - weight: 20-35gsm - comfortable for long durations
3 | Lead Time | Specify the lead time of new production of Goods inclusive redressing, in Weeks or Months | Lead time for New Production of Item including redressing
4 | Delivery Period | Please indicate the lead-time for delivery period including shipment to Brunei Darussalam. The shortest or specific lead-time will be preferred. Not acceptable if language used to describe lead time as “Not more than 60-90 days upon confirmation, however subject to stocks availability upon receipt of purchase order” would be regarded as unspecified lead time which therefore be considered as the longest lead-time | Lead time for delivery of item to Brunei Darussalam
5 | Ex-Stock Availability | Indicate whether existing stock is available for immediate purchase and the quantity in hand. Availability of ex-stock will be preferred | Ex-Stock of item available with supplier
Quantity available
6 | Sample Submitted | *If the conditions below applies to the items offered, Bidders are REQUIRED to submit sample of products for evaluation: • The Bidder has not supplied the product to BELTS or MOH; or • The Bidder has previously supplied the product to BELTS or MOH, however has exceeded two (2) years from the date of Tender released; or Failure to submit samples will automatically disqualify the Bidder from evaluation in the Tender. Samples are required to be submitted in the following conditions with Schedule 4 Technical Proposal - Sample Submission Form: • Must be submitted in untampered original pack including its package insert; • The sample should be labelled with tender reference number and listed item no.; • Must be submitted with Submission of Sample Form; and Bidder are reminded to ensure the product sample match with their offer. | Sample Ref. No (MC/2024/01/Sample…)
7 | Other details / documents provided | The followings are required to be submitted: High resolution and legible color photo images of the following: • Photo images of product offered which must include essential details of label on the primary and secondary packaging such as product name / manufacturer details - from all sides/angles of the packaging. (Please attached with the document) • Brochures with Instruction for use/product manuals submitted (Kindly submit official brochures for offerd items) | Product Images and Product Brochures provided
|  | The storage condition of the product should be labelled in accordance with ASEAN Guideline on Stability Study of Drug Product. Specific temperature for storage condition should be indicated. Not acceptable by using these terms such as “ambient conditions”, “room temperature” or “does not require any special storage condition”; unless enclosed with stability study document. | Storage Conditions
|  | Minimum of 24 months on receipt; unless the item’s manufactured shelf life is less than 24 months; short expiry date items agreed to be accepted by BELTS with prior knowledge before delivery and with letter of undertaking provided. Product with longer shelf-life will be given preference. | a. Product shelf-life b. Minimum shelf-life upon receipt
|  | Indicate 'Yes' or 'No' and its reference if the product offered has been supplied to MOH or BELTS | Indicate if previously supplied to MOH or BELTS (RFQ or Tender Reference with month and year)
Note on D5: Please indicate the pack size offer (e.g 4 x 7's, 3 x 10's, 120ml/bottle)
Note on D6: Manufacturer details: Name, Address & country
Note on D12: For sample that is already submitted to Medical Supply Chain, please indicate the Sample Ref. No (MP/2022/01/Sample…). If sample is not submitted, please indicate the reasons.
Note on D13: Please indicate whether the product images is provided (where applicable)
Note on D14: Please state the storage conditions [Ref. to Annex C, no. 6]
Note on D16: If previously supplied to MOH, please provide tender/ qtn ref. [ref. to Annex C, no. 6]

## Sch 3 - Item 21 - Item 25
SCHEDULE 3 TECHNICAL PROPOSAL - DETAILS OF PRODUCTS OFFERED THE SUPPLY AND DELIVERY OF MEDICAL CONSUMABLES FOR BRUNEI ENGINEERING, LOGISTICS AND TRAINING SOLUTIONS SDN BHD FOR ONE PLUS ONE (1+1) YEARS TENDER BATCH: BELTS/MSC/PROC/MC/2024/1
No. | PARTICULARS | SPECIFICATION AND REQUIREMENT | INFORMATION REQUIRED | ITEM 21 | ITEM 22 | ITEM 23 | ITEM 24 | ITEM 25
|  |  |  | Overshoes Cover PVC Disposable | Black Duthene Trash Bag Size: 30" x 30" x 0.05mm | Winged Infusion Set Log Sterile Single Use Needle Length 3/4" Extension Tube Length 19" Size: 21G x 3/4" | Winged Infusion Set Log Sterile Single Use Needle Length 3/4" Extension Tube Length 12" Size: 21G x 3/4" | Winged Infusion Set Log Sterile Single Use Needle Length 3/4" Extension Tube Length 12" Size: 22G x 3/4"
1 | Product details | Details of Brand | Product / Brand Name including Item Code (if applicable)
|  | Details of Pack Size and Type of Presentation Offered | Pack Size
|  | The name of Manufacturer where product is obtained and its details | Manufacturer information
2 | Product Specifications | Indicate if the product specifications are met, if not please specify accordingly | Please refer to individual item's required specifications | - made from a textured, plastic material, anti-skid / anti-slip protection on hard wood floors or tile - shoe cover fit up to a size 18 work boot - protect from cross conatmination, bacteria and hazardous material - colour: light blue | - Black Color - size: 30" x 30" x 0.05m | - the wing is flexible interlocking wings readily comform to the body's contour - the wing is angled for ease of positioning of the needle during venepuncture for less risk of vessel damage or occusion of lumen - the wing is a device specialized for venepuncture i.e. for accessing a superficial vein for either intravenous injection phlebotomy of scalp vein - the wing offers advantages over a single straight needle - single use and sterile - non-pyrogenic - the honey sharp needle with ultra-thin wall design assures ease penetration and continues access with a single insertion - DEHP free - size: 19G x 3/4" | - the wing is flexible interlocking wings readily comform to the body's contour - the wing is angled for ease of positioning of the needle during venepuncture for less risk of vessel damage or occusion of lumen - the wing is a device specialized for venepuncture i.e. for accessing a superficial vein for either intravenous injection phlebotomy of scalp vein - the wing offers advantages over a single straight needle - single use and sterile - non-pyrogenic - the honey sharp needle with ultra-thin wall design assures ease penetration and continues access with a single insertion - DEHP free - size: 21G x 3/4" | - the wing is flexible interlocking wings readily comform to the body's contour - the wing is angled for ease of positioning of the needle during venepuncture for less risk of vessel damage or occusion of lumen - the wing is a device specialized for venepuncture i.e. for accessing a superficial vein for either intravenous injection phlebotomy of scalp vein - the wing offers advantages over a single straight needle - single use and sterile - non-pyrogenic - the honey sharp needle with ultra-thin wall design assures ease penetration and continues access with a single insertion - DEHP free - size: 22G x 3/4"
3 | Lead Time | Specify the lead time of new production of Goods inclusive redressing, in Weeks or Months | Lead time for New Production of Item including redressing
4 | Delivery Period | Please indicate the lead-time for delivery period including shipment to Brunei Darussalam. The shortest or specific lead-time will be preferred. Not acceptable if language used to describe lead time as “Not more than 60-90 days upon confirmation, however subject to stocks availability upon receipt of purchase order” would be regarded as unspecified lead time which therefore be considered as the longest lead-time | Lead time for delivery of item to Brunei Darussalam
5 | Ex-Stock Availability | Indicate whether existing stock is available for immediate purchase and the quantity in hand. Availability of ex-stock will be preferred | Ex-Stock of item available with supplier
Quantity available
6 | Sample Submitted | *If the conditions below applies to the items offered, Bidders are REQUIRED to submit sample of products for evaluation: • The Bidder has not supplied the product to BELTS or MOH; or • The Bidder has previously supplied the product to BELTS or MOH, however has exceeded two (2) years from the date of Tender released; or Failure to submit samples will automatically disqualify the Bidder from evaluation in the Tender. Samples are required to be submitted in the following conditions with Schedule 4 Technical Proposal - Sample Submission Form: • Must be submitted in untampered original pack including its package insert; • The sample should be labelled with tender reference number and listed item no.; • Must be submitted with Submission of Sample Form; and Bidder are reminded to ensure the product sample match with their offer. | Sample Ref. No (MC/2024/01/Sample…)
7 | Other details / documents provided | The followings are required to be submitted: High resolution and legible color photo images of the following: • Photo images of product offered which must include essential details of label on the primary and secondary packaging such as product name / manufacturer details - from all sides/angles of the packaging. (Please attached with the document) • Brochures with Instruction for use/product manuals submitted (Kindly submit official brochures for offerd items) | Product Images and Product Brochures provided
|  | The storage condition of the product should be labelled in accordance with ASEAN Guideline on Stability Study of Drug Product. Specific temperature for storage condition should be indicated. Not acceptable by using these terms such as “ambient conditions”, “room temperature” or “does not require any special storage condition”; unless enclosed with stability study document. | Storage Conditions
|  | Minimum of 24 months on receipt; unless the item’s manufactured shelf life is less than 24 months; short expiry date items agreed to be accepted by BELTS with prior knowledge before delivery and with letter of undertaking provided. Product with longer shelf-life will be given preference. | a. Product shelf-life b. Minimum shelf-life upon receipt
|  | Indicate 'Yes' or 'No' and its reference if the product offered has been supplied to MOH or BELTS | Indicate if previously supplied to MOH or BELTS (RFQ or Tender Reference with month and year)
Note on D5: Please indicate the pack size offer (e.g 4 x 7's, 3 x 10's, 120ml/bottle)
Note on D6: Manufacturer details: Name, Address & country
Note on D12: For sample that is already submitted to Medical Supply Chain, please indicate the Sample Ref. No (MP/2022/01/Sample…). If sample is not submitted, please indicate the reasons.
Note on D13: Please indicate whether the product images is provided (where applicable)
Note on D14: Please state the storage conditions [Ref. to Annex C, no. 6]
Note on D16: If previously supplied to MOH, please provide tender/ qtn ref. [ref. to Annex C, no. 6]

## Sch 3 - Item 26 - Item 27
SCHEDULE 3 TECHNICAL PROPOSAL - DETAILS OF PRODUCTS OFFERED THE SUPPLY AND DELIVERY OF MEDICAL CONSUMABLES FOR BRUNEI ENGINEERING, LOGISTICS AND TRAINING SOLUTIONS SDN BHD FOR ONE PLUS ONE (1+1) YEARS TENDER BATCH: BELTS/MSC/PROC/MC/2024/1
No. | PARTICULARS | SPECIFICATION AND REQUIREMENT | INFORMATION REQUIRED | ITEM 26 | ITEM 27
|  |  |  | Winged Infusion Set Log Sterile Single Use Needle Length 3/4" Extension Tube Length 12" Size: 23G x 3/4" | Winged Infusion Set Log Sterile Single Use Needle Length 3/4" Extension Tube Length 12" Size: 25G x 3/4"
1 | Product details | Details of Brand | Product / Brand Name including Item Code (if applicable)
|  | Details of Pack Size and Type of Presentation Offered | Pack Size
|  | The name of Manufacturer where product is obtained and its details | Manufacturer information
2 | Product Specifications | Indicate if the product specifications are met, if not please specify accordingly | Please refer to individual item's required specifications | - the wing is flexible interlocking wings readily comform to the body's contour - the wing is angled for ease of positioning of the needle during venepuncture for less risk of vessel damage or occusion of lumen - the wing is a device specialized for venepuncture i.e. for accessing a superficial vein for either intravenous injection phlebotomy of scalp vein - the wing offers advantages over a single straight needle - single use and sterile - non-pyrogenic - the honey sharp needle with ultra-thin wall design assures ease penetration and continues access with a single insertion - DEHP free - size: 23G x 3/4" | - the wing is flexible interlocking wings readily comform to the body's contour - the wing is angled for ease of positioning of the needle during venepuncture for less risk of vessel damage or occusion of lumen - the wing is a device specialized for venepuncture i.e. for accessing a superficial vein for either intravenous injection phlebotomy of scalp vein - the wing offers advantages over a single straight needle - single use and sterile - non-pyrogenic - the honey sharp needle with ultra-thin wall design assures ease penetration and continues access with a single insertion - DEHP free - size: 25G x 3/4"
3 | Lead Time | Specify the lead time of new production of Goods inclusive redressing, in Weeks or Months | Lead time for New Production of Item including redressing
4 | Delivery Period | Please indicate the lead-time for delivery period including shipment to Brunei Darussalam. The shortest or specific lead-time will be preferred. Not acceptable if language used to describe lead time as “Not more than 60-90 days upon confirmation, however subject to stocks availability upon receipt of purchase order” would be regarded as unspecified lead time which therefore be considered as the longest lead-time | Lead time for delivery of item to Brunei Darussalam
5 | Ex-Stock Availability | Indicate whether existing stock is available for immediate purchase and the quantity in hand. Availability of ex-stock will be preferred | Ex-Stock of item available with supplier
Quantity available
6 | Sample Submitted | *If the conditions below applies to the items offered, Bidders are REQUIRED to submit sample of products for evaluation: • The Bidder has not supplied the product to BELTS or MOH; or • The Bidder has previously supplied the product to BELTS or MOH, however has exceeded two (2) years from the date of Tender released; or Failure to submit samples will automatically disqualify the Bidder from evaluation in the Tender. Samples are required to be submitted in the following conditions with Schedule 4 Technical Proposal - Sample Submission Form: • Must be submitted in untampered original pack including its package insert; • The sample should be labelled with tender reference number and listed item no.; • Must be submitted with Submission of Sample Form; and Bidder are reminded to ensure the product sample match with their offer. | Sample Ref. No (MC/2024/01/Sample…)
7 | Other details / documents provided | The followings are required to be submitted: High resolution and legible color photo images of the following: • Photo images of product offered which must include essential details of label on the primary and secondary packaging such as product name / manufacturer details - from all sides/angles of the packaging. (Please attached with the document) • Brochures with Instruction for use/product manuals submitted (Kindly submit official brochures for offerd items) | Product Images and Product Brochures provided
|  | The storage condition of the product should be labelled in accordance with ASEAN Guideline on Stability Study of Drug Product. Specific temperature for storage condition should be indicated. Not acceptable by using these terms such as “ambient conditions”, “room temperature” or “does not require any special storage condition”; unless enclosed with stability study document. | Storage Conditions
|  | Minimum of 24 months on receipt; unless the item’s manufactured shelf life is less than 24 months; short expiry date items agreed to be accepted by BELTS with prior knowledge before delivery and with letter of undertaking provided. Product with longer shelf-life will be given preference. | a. Product shelf-life b. Minimum shelf-life upon receipt
|  | Indicate 'Yes' or 'No' and its reference if the product offered has been supplied to MOH or BELTS | Indicate if previously supplied to MOH or BELTS (RFQ or Tender Reference with month and year)
Note on D5: Please indicate the pack size offer (e.g 4 x 7's, 3 x 10's, 120ml/bottle)
Note on D6: Manufacturer details: Name, Address & country
Note on D12: For sample that is already submitted to Medical Supply Chain, please indicate the Sample Ref. No (MP/2022/01/Sample…). If sample is not submitted, please indicate the reasons.
Note on D13: Please indicate whether the product images is provided (where applicable)
Note on D14: Please state the storage conditions [Ref. to Annex C, no. 6]
Note on D16: If previously supplied to MOH, please provide tender/ qtn ref. [ref. to Annex C, no. 6]