|  |  |
| --- | --- |
| **REQUEST FOR QUOTATION (RFQ)** | Supplier’s Stamp/Signature: |
| Closing Date | : **04 October 2024** |
| Email Submission | : **box5@belts.com.bn** |
| BELTS Ref | : **BELTS/HCCS/RFQ/2024/057** |
| Date of Submission | : Click here to enter text. |
| Supplier/Quote Ref | : Click here to enter text. |

|  |  |
| --- | --- |
| Company Name | **Click here to enter text.** |
| Address | **Click here to enter text.** |
| Phone | Office: **Click here to enter text.** Mobile: **Click here to enter text.** |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **No.** | **Item Description** | **Delivery Period** | **Qty/UoM** | **Unit Price** | **Total Price** |
|  | **Repair work Paintball Arena Jerudong (PAJ)****Address** Spg 265, 265-33 Jerudong Sports Complex Ministry of Culture, Youth and Sports, Jalan Jerudong BG3122 Brunei Darussalam | **2-3 WORKING DAYS UPON PO ISSUANCE** |  |  |  |
| 1 | **WALL PAINTING (Main building)****Scope of work*** Painting of interior and exterior walls for Main Building, including necessary surface preparation (sanding, priming, etc.).
* Color – White
 | **1 LOT** | **Click here to enter text.** | **Click here to enter text.** |
| 2 | **CEMENT FLOOR (Deployment Area)****Scope of work*** To put new cement at floor at deployment area.
 | **1 LOT** | **Click here to enter text.** | **Click here to enter text.** |
| 3 | **CEILING (Deployment Area)****Scope of work*** Install PVC ceiling panels (Black Color)
* Measurement area: 40m (L) x 6m (W)
 | **1 LOT** | **Click here to enter text.** | **Click here to enter text.** |
| 4 | **FANS INSTALLATION (Deployment Area)** **Scope of work*** To dismantle 4 units of the existing ceiling fans and to install new ceiling fan
* To supply 2 new units of Panasonic brand fan
 | **1 LOT** | **Click here to enter text.** | **Click here to enter text.** |
| 5 | **GUTTER (Deployment Area)****Scope of work*** Install new gutter
 | **1 LOT** | **Click here to enter text.** | **Click here to enter text.** |
| 6 | **PAINTING (Deployment Area)****Scope of work*** To repair the roller gates
* To repaint of steel bracing structure
 | **1 LOT** | **Click here to enter text.** | **Click here to enter text.** |
| 7 | **REPAIR ROLLER GATE (Deployment Area)****Scope of work*** Main Entrance
* Arena 2 Entrance
* Shooting Target Area
 | **1 LOT** | **Click here to enter text.** | **Click here to enter text.** |
| 8 | **ELECTRIC BOX (Deployment Area)****Scope of work*** To replace new electric box – 10 units
 | **1 LOT** | **Click here to enter text.** | **Click here to enter text.** |
| 9 | **SAFETY NET (Deployment Area)****Scope of work*** To repair the safety nets of all Arena and install new hooks.
* Some of the safety nets which requires replacement will be provided by BELTS, completed with carabiner and cable.
* Some of the pole hooks are rusty. Welding is needed to install a new hook.
 | **1 LOT** | **Click here to enter text.** | **Click here to enter text.** |
| 10 | **CUSTOMADE CABINET & TABLE (Main Building)****Scope of work*** Customize wall cabinet for storage
* Customize Pantry Cabinet
* Customize Counter Top Table
* Measurement (advised for site visit)
 | **1 LOT** | **Click here to enter text.** | **Click here to enter text.** |
| 11 | **RECEIPTION COUNTER (Main Building)****Scope of work*** To upgrade the reception counter.
* To install PVC panel
* To install LED Lighting
 | **1 LOT** | **Click here to enter text.** | **Click here to enter text.** |
| 12 | **CHANGING ROOM (Main Building)****Scope of work*** To install wall mounted shower
* To install bathroom sink
* To supply and install 1HP aircond
 | **1 LOT** | **Click here to enter text.** | **Click here to enter text.** |
| 13 | **OUTDOOR COUNTERTOP (Main Building)****Scope of work*** To build outdoor countertop (L-Shape)
* To install kitchen sink
* Install outdoor mount wall fans
* Measurement (advised for site visit)
 | **1 LOT** | **Click here to enter text.** | **Click here to enter text.** |
| 14 | **PAINTING ROOF (Main building)****Scope of work*** Application of weather-resistant paint suitable for roof surfaces
* Color – Black
 | **1 LOT** | **Click here to enter text.** | **Click here to enter text.** |
| 15 | **CLEAN WALK WAY/ GUTTER / DRAINAGE****Scope of work*** To clean all the walk way / gutter / drainage by using example Water Jet/scrubbing etc
 | **1 LOT** | **Click here to enter text.** | **Click here to enter text.** |
|  | Note:* All work need to be completed before 1st November 2024
* For any site visit purposes kindly e-Mail your date & time schedule to admincorp@belts.com.bn
* For any questions or enquiries kindly e-Mail directly to rfq\_enquiry@belts.com.bn
* Contractor must implement safety measures to protect workers and the public during installation/delivery work.
* Vendors/contractors must adhere to regulatory SHENA safety rules and regulations.
 |

|  |  |  |
| --- | --- | --- |
| **MANDATORY**Suppliers are to provide with the Packaging Dimension,Measurement & Weight - in Standard measurement in Meter, Feet,Inches, Cm, Mm, Kg, GM | **TOTAL PRICE** | **Click here to enter text.** |
| Freight Term (EXW,CIF,ETC) | **Click here to enter text.** |
| Freight Charges (IF APPLICABLE) | **Click here to enter text.** |
| Any other charges please state | **Click here to enter text.** |
| **GRAND TOTAL** | **Click here to enter text.** |
| Currency Code : | **BND** |
|  Price Validity(Minimum 9 Months) : | **Click here to enter text.** |
| Payment Terms : | **30 DAYS CREDIT** |
| Warranty : | **Click here to enter text.** |
| Mode of Delivery : | **Click here to enter text.** |
| Delivery Period : | **Click here to enter text.** |
| Country of Manufactured : | **Click here to enter text.** |
| Remarks: | **Click here to enter text.** |