## Specification
SCHEDULE 3 TECHNICAL PROPOSAL - DETAILS OF PRODUCTS OFFERED THE SUPPLY AND DELIVERY OF MEDICAL CONSUMABLES FOR BRUNEI ENGINEERING, LOGISTICS AND TRAINING SOLUTIONS SDN BHD FOR ONE PLUS ONE (1+1) YEARS TENDER BATCH: BELTS/MSC/PROC/MC/2024/3 Amendment No: 01 Amendment Date: 8 October 2024
NO. | ITEM DESCRIPTION | SPECIFICATION | UOM | ESTIMATED ANNUAL USAGE | BUFFER STOCK REQUIRED | SHELF LIFE | DELIVERY PERIOD
1 | CVVHD Fluid Hemosol 5 Litre Bag For Use of Prisma CVVHD Machine | - for use of Prisma CVVHD Dialysis - hemosol bo fluid with compartment containing sodium bicarbonate, compartment B containing calcium chloride, sodium chloride, lactic acid - bag of 5 litre | Bag | 1800 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock
2 | Haemofilter With Warmer Extension Line For Use of Prisma CVVHD Dialysis | - for use of Prisma CVVHD Dialysis - M100 preset filter with blood access dialysate line effluent line, replacement solution line | Set | 460 | 20% of Estimated Annual Usage | Minimum of 2 years’ shelf life upon receipt. Any period less than 2 years to provide Letter of Undertaking | First order within 2 months upon receipt of purchase order, subsequent order ex-stock

## Sch 3 - Item 1 - Item 2
SCHEDULE 3 TECHNICAL PROPOSAL - DETAILS OF PRODUCTS OFFERED THE SUPPLY AND DELIVERY OF MEDICAL CONSUMABLES FOR BRUNEI ENGINEERING, LOGISTICS AND TRAINING SOLUTIONS SDN BHD FOR ONE PLUS ONE (1+1) YEARS TENDER BATCH: BELTS/MSC/PROC/MC/2024/3
No. | PARTICULARS | SPECIFICATION AND REQUIREMENT | INFORMATION REQUIRED | ITEM 1 | ITEM 2
|  |  |  | CVVHD Fluid Hemosol 5 Litre Bag For Use of Prisma CVVHD Machine | Haemofilter With Warmer Extension Line For Use of Prisma CVVHD Dialysis
1 | Product details | Details of Brand | Product / Brand Name including Item Code (if applicable)
|  | Details of Pack Size and Type of Presentation Offered | Pack Size
|  | The name of Manufacturer where product is obtained and its details | Manufacturer information
2 | Product Specifications | Indicate if the product specifications are met, if not please specify accordingly | Please refer to individual item's required specifications
3 | Lead Time | Specify the lead time of new production of Goods inclusive redressing, in Weeks or Months | Lead time for New Production of Item including redressing
4 | Delivery Period | Please indicate the lead-time for delivery period including shipment to Brunei Darussalam. The shortest or specific lead-time will be preferred. Not acceptable if language used to describe lead time as “Not more than 60-90 days upon confirmation, however subject to stocks availability upon receipt of purchase order” would be regarded as unspecified lead time which therefore be considered as the longest lead-time | Lead time for delivery of item to Brunei Darussalam
5 | Ex-Stock Availability | Indicate whether existing stock is available for immediate purchase and the quantity in hand. Availability of ex-stock will be preferred | Ex-Stock of item available with supplier
Quantity available
6 | Sample Submitted | *If the conditions below applies to the items offered, Bidders are REQUIRED to submit sample of products for evaluation: • The Bidder has not supplied the product to BELTS or MOH; or • The Bidder has previously supplied the product to BELTS or MOH, however has exceeded two (2) years from the date of Tender released; or Failure to submit samples will automatically disqualify the Bidder from evaluation in the Tender. Samples are required to be submitted in the following conditions with Annex C Sample Submission Form: • Must be submitted in untampered original pack including its package insert; • The sample should be labelled with tender reference number and listed item no.; • Must be submitted with Submission of Sample Form; and Bidder are reminded to ensure the product sample match with their offer. | Sample Ref. No (MC/2024/01/Sample…)
7 | Other details / documents provided | The followings are required to be submitted: High resolution and legible color photo images of the following: • Photo images of product offered which must include essential details of label on the primary and secondary packaging such as product name / manufacturer details - from all sides/angles of the packaging. (Please attached with the document) • Brochures with Instruction for use/product manuals submitted (Kindly submit official brochures for offerd items) | Product Images and Product Brochures provided
|  | The storage condition of the product should be labelled in accordance with ASEAN Guideline on Stability Study of Drug Product. Specific temperature for storage condition should be indicated. Not acceptable by using these terms such as “ambient conditions”, “room temperature” or “does not require any special storage condition”; unless enclosed with stability study document. | Storage Conditions
|  | Minimum of 24 months on receipt; unless the item’s manufactured shelf life is less than 24 months; short expiry date items agreed to be accepted by BELTS with prior knowledge before delivery and with letter of undertaking provided. Product with longer shelf-life will be given preference. | a. Product shelf-life b. Minimum shelf-life upon receipt
|  | Indicate 'Yes' or 'No' and its reference if the product offered has been supplied to MOH or BELTS | Indicate if previously supplied to MOH or BELTS (RFQ or Tender Reference with month and year)