Form No: BELTS/PTA/NTPU/F/18 (1.0-151123)

|  |  |  |
| --- | --- | --- |
| **REQUEST FOR QUOTATION (RFQ)** | | Supplier’s Stamp/Signature: |
| Closing Date | : **31 December 2024** |  |
| Email Submission | **:** [**box7@belts.com.bn**](mailto:box7@belts.com.bn) |  |
| BELTS Ref | **: BELTS/ES/VMC/2024-33** | |
| Date of Submission | **:**Click or tap to enter a date. |  |
| Supplier/Quote Ref | **:**Click or tap here to enter text. |  |

|  |  |
| --- | --- |
| Company Name | Click or tap here to enter text. |
| Address | Click or tap here to enter text. |
| Phone | Office:Click or tap here to enter text. Mobile:Click or tap here to enter text. |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **No.** | **Item Description** | **Delivery Period** | **Qty/UoM** | | **Unit Price** | **Total Price** |
| 1 | The supplier or the contractor will be required to provide and install the following services: | | | | | |
|  | a. To repair and service two (2) units of Painting both extractor motors, inclusive of fan shafts and bearings |  | 1 LOT | | Click or tap here to enter text. | Click or tap here to enter text. |
|  | b. To replace all internal filters inside the painting booth with high quality materials and compliance to recognized emission standards for Hazardous Air Pollutants. |  | 1 LOT | | Click or tap here to enter text. | Click or tap here to enter text. |
|  | c. To replace rusty frames (internal and external) for both extractor fans |  | 1 LOT | | Click or tap here to enter text. | Click or tap here to enter text. |
|  | d. To replace one (1) unit of main push button switch for one of the fan extractors |  | 1 EA | | Click or tap here to enter text. | Click or tap here to enter text. |
|  | e. To replace all beltings for both extractor motors |  | 4 EA | | Click or tap here to enter text. | Click or tap here to enter text. |
|  | **Note:**   1. Please state the Brand and country of Origin for each equipment 2. Please provide equipment brochure and technical specification 3. To dispose all debris after installation 4. The supplier must conduct the site survey not later than **24th Dec 2024** 5. For enquiries, please kindly contact Md Hussin – 8952525 | | | | | |
| **MANDATORY**  Suppliers are to provide with the Packaging Dimension, Measurement & Weight - in Standard measurement in Meter, Feet, Inches, Cm, Mm, Kg, GM | | | | **TOTAL PRICE** | |  |
| Freight Term (EXW,CIF,ETC) | | | | | |  |
| Freight Charges (IF APPLICABLE) | | | | | |  |
| Any other charges please state | | | | | |  |
| **GRAND TOTAL** | | | | | |  |

Form No: BELTS/PTA/NTPU/F/18 (1.0-1511

|  |  |
| --- | --- |
| Currency Code : | **BND** |
| Price Validity (Minimum 3 Months) : | **3 Months** |
| Payment Terms : | **30 DAYS CREDIT** |
| Warranty : | **12 Months** |
| Mode of Delivery : |  |
| Delivery Period : |  |
| Country of Manufactured : |  |
| Remarks: |  |