| REQUEST FOR QUOTATION (RFQ) |  | Supplier’s Stamp/Signature: |
| --- | --- | --- |
| Closing Date | : 16 September 2025 |  |
| Email Submission | : box2@belts.com.bn |  |
| BELTS Ref | : BELTS/MSC/RFQ/SEPT/002 |  |
| Date of Submission | : |  |
| Supplier/Quote Ref | : Click here to enter text. |  |

| Company Name | Click here to enter text. |
| --- | --- |
| Address | Click here to enter text. |
| Phone | Office: Click here to enter text. Mobile: Click here to enter text. |

| No. | Item Description | Delivery Period | Qty/UoM |  | Unit Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- |
| 1. | Supply and Delivery of Credo – cold chain: Specifications: - Temperature Range: 2°C to 8°C (refrigerated) - Performance Duration: Minimum 96 hours validated protection (longer durations preferred). - Payload Capacity: 28L (medium) Dimension: External dimensions: 457 mm (L) × 419 mm (W) × 432 mm (H) Internal (payload) dimensions: 305 mm × 305 mm × 305 mm - Compliance Standards: WHO PQS, GDP, IATA/ICAO regulations. - Materials: Durable, reusable insulated casing with PCM (Phase Change Material) or dry ice compatibility. Monitoring Capability: Temperature logger/data logger compatibility Optional GPS or remote monitoring - Warranty: Minimum 1-year warranty including after-sales service. - Support & Services: Pre-conditioning services (if required) Training in proper handling and reconditioning - Availability of spare parts Note: - Sample for testing and review is to be sent to Medical Supply Chain (MSC) Spg 433, Kg Madaras Rimba Highway from Monday to Thursday, from 2:00pm to 3:00pm. - Testing will be carried out for 3 days. - The test sample will be returned to supplier after the testing period. | 1 week after PO issuance | 4 units |  |  |  |
| MANDATORY Suppliers are to provide with the Packaging Dimension, Measurement & Weight - in Standard measurement in Meter, Feet, Inches, Cm, Mm, Kg, GM |  |  |  | TOTAL PRICE |  | Click here to enter text. |
| Freight Term (EXW,CIF,ETC) |  |  |  |  |  | Click here to enter text. |
| Freight Charges (IF APPLICABLE) |  |  |  |  |  | Click here to enter text. |
| Any other charges please state |  |  |  |  |  | Click here to enter text. |
| GRAND TOTAL |  |  |  |  |  | Click here to enter text. |

| Currency Code : | BND |
| --- | --- |
| Price Validity (Minimum 9 Months) : | Click here to enter text. |
| Payment Terms : | 30 DAYS CREDIT |
| Warranty : |  |
| Mode of Delivery : | Click here to enter text. |
| Delivery Period : | Click here to enter text. |
| Country of Manufactured : | Click here to enter text. |
| Remarks: | This purchase is urgently required to support warehouse operations |